## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: IWD, IIT(BHU), Varanasi
Name of Work: Construction of Mezzanine Floor in the Existing Space Renovation of Toilet of MCIIE, Department of Chemical Engineering, IIT (BHU), Varanasi.
Contract No: IIT(BHU)/IWD/CT/007/2020-21/
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Demolishing cement concrete manually / by mechanical means and disposal of material within 50 metres lead as per direction of Engineer in charge. | [53 empty] | 1 | Demolishing cement concrete manually / by mechanical means and disposal of material within 50 metres lead as per direction of Engineer in charge. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) |  | 2 | cum | 997.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1994.1 | 1994.1 | INR One Thousand Nine Hundred & Ninety Four and Paise Ten Only | 1.01 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | 2 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge: | [53 empty] | 2 | Demolishing brick work manually / by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge: |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | In cement mortar (15.7.4) |  | 11 | cum | 842.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9270.25 | 9270.25 | INR Nine Thousand Two Hundred & Seventy and Paise Twenty Five Only | 2.01 | In cement mortar (15.7.4) | 11 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. | [53 empty] | 3 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | All kinds of soil (2.6.1) |  | 11 | cum | 125.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1385.45 | 1385.45 | INR One Thousand Three Hundred & Eighty Five and Paise Forty Five Only | 3.01 | All kinds of soil (2.6.1) | 11 | cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 4 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | (a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone (4.1.8) aggregate 40 mm nominal size) |  | 2 | cum | 4478.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8956.3 | 8956.3 | INR Eight Thousand Nine Hundred & Fifty Six and Paise Thirty Only | 4.01 | (a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone (4.1.8) aggregate 40 mm nominal size) | 2 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4.02 | (b) 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) (4.1.3) |  | 5 | cum | 5481.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27409.75 | 27409.75 | INR Twenty Seven Thousand Four Hundred & Nine and Paise Seventy Five Only | 4.02 | (b) 1:2:4 (1 Cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) (4.1.3) | 5 | cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: | [53 empty] | 5 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | Cement mortar 1:6 (1 cement : 6 coarse sand) (6.1.2) |  | 6 | cum | 4751.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 28509.9 | 28509.9 | INR Twenty Eight Thousand Five Hundred & Nine and Paise Ninety Only | 5.01 | Cement mortar 1:6 (1 cement : 6 coarse sand) (6.1.2) | 6 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level upto floor V level in all shapes and sizes in: | [53 empty] | 6 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level upto floor V level in all shapes and sizes in: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
6.01 | Cement mortar 1:6 ( 1 cement : 6 coarse sand) (6.4.2) |  | 11 | cum | 5582.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 61411.35 | 61411.35 | INR Sixty One Thousand Four Hundred & Eleven and Paise Thirty Five Only | 6.01 | Cement mortar 1:6 ( 1 cement : 6 coarse sand) (6.4.2) | 11 | cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | 12 mm cement plaster of mix : | [53 empty] | 7 | 12 mm cement plaster of mix : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.01 | 1:6 (1 cement : 6 coarse sand) (13.4.2) |  | 64 | sqm | 168.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10768 | 10768 | INR Ten Thousand Seven Hundred & Sixty Eight Only | 7.01 | 1:6 (1 cement : 6 coarse sand) (13.4.2) | 64 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | 15 mm cement plaster on rough side of single or half brick wall of mix : | [53 empty] | 8 | 15 mm cement plaster on rough side of single or half brick wall of mix : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.01 | 1:6 (1 cement : 6 coarse sand) (13.5.2) |  | 37 | sqm | 194.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7200.2 | 7200.2 | INR Seven Thousand Two Hundred and Paise Twenty Only | 8.01 | 1:6 (1 cement : 6 coarse sand) (13.5.2) | 37 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) |  | 11 | sqm | 22.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 246.4 | 246.4 | INR Two Hundred & Forty Six and Paise Forty Only | 9 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | 11 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). (5.3) |  | 1 | cum | 7390.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7390.8 | 7390.8 | INR Seven Thousand Three Hundred & Ninety and Paise Eighty Only | 10 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). (5.3) | 1 | cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete . | [53 empty] | 11 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete . |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
11.01 | Thermo-Mechanically Treated bars. (5.22.6) |  | 94 | kg | 56.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5320.4 | 5320.4 | INR Five Thousand Three Hundred & Twenty and Paise Forty Only | 11.01 | Thermo-Mechanically Treated bars. (5.22.6) | 94 | kg | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Centering and shuttering including strutting, propping etc. and removal of form for: | [53 empty] | 12 | Centering and shuttering including strutting, propping etc. and removal of form for: |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
12.01 | Lintels, beams, plinth beams, girders, bressumers and cantilevers. (5.9.5) |  | 10 | sqm | 342.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3429 | 3429 | INR Three Thousand Four Hundred & Twenty Nine Only | 12.01 | Lintels, beams, plinth beams, girders, bressumers and cantilevers. (5.9.5) | 10 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | [53 empty] | 13 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.01 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) |  | 8334 | Kg | 85.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 716307.3 | 716307.3 | INR Seven Lakh Sixteen Thousand Three Hundred & Seven and Paise Thirty Only | 13.01 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | 8334 | Kg | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. | [53 empty] | 14 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.01 | Hot finished welded type tubes (10.16.1) |  | 1276 | Kg | 90.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 115159 | 115159 | INR One Lakh Fifteen Thousand One Hundred & Fifty Nine Only | 14.01 | Hot finished welded type tubes (10.16.1) | 1276 | Kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Providing and fixing ISI marked flush door shutters conforming to IS 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. | [53 empty] | 15 | Providing and fixing ISI marked flush door shutters conforming to IS 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15.01 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.1) |  | 195 | sqm | 2488.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 485345.25 | 485345.25 | INR Four Lakh Eighty Five Thousand Three Hundred & Forty Five and Paise Twenty Five Only | 15.01 | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.1) | 195 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Providing and fixing PVC rigid foam sheet 1 mm thick on existing door shutters (bathroom and W.C. doors) using synthetic rubber based adhesive. (9.125) |  | 195 | sqm | 846.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 165048 | 165048 | INR One Lakh Sixty Five Thousand &Forty Eight Only | 16 | Providing and fixing PVC rigid foam sheet 1 mm thick on existing door shutters (bathroom and W.C. doors) using synthetic rubber based adhesive. (9.125) | 195 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | Removing dry or oil bound distemper, water proffing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete (14.46) |  | 471 | sqm | 10.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5086.8 | 5086.8 | INR Five Thousand &Eighty Six and Paise Eighty Only | 17 | Removing dry or oil bound distemper, water proffing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete (14.46) | 471 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Providing and applying white cement based putty of average thickness 1mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) |  | 471 | sqm | 87.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 41141.85 | 41141.85 | INR Forty One Thousand One Hundred & Forty One and Paise Eighty Five Only | 18 | Providing and applying white cement based putty of average thickness 1mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | 471 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade | [53 empty] | 19 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19.01 | New work (two or more coats) over and including water thinnable priming coat with cement primer (13.41.1) |  | 471 | sqm | 93.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44132.7 | 44132.7 | INR Forty Four Thousand One Hundred & Thirty Two and Paise Seventy Only | 19.01 | New work (two or more coats) over and including water thinnable priming coat with cement primer (13.41.1) | 471 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Applying priming coat: | [53 empty] | 20 | Applying priming coat: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20.01 | With ready mixed pink or Grey primer of approved brand and manufacture on wood work (hard and soft wood) (13.50.1) |  | 389 | sqm | 34.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13595.55 | 13595.55 | INR Thirteen Thousand Five Hundred & Ninety Five and Paise Fifty Five Only | 20.01 | With ready mixed pink or Grey primer of approved brand and manufacture on wood work (hard and soft wood) (13.50.1) | 389 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 21 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21.01 | Two or more coats on new work (13.61.1) |  | 250 | sqm | 78.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19600 | 19600 | INR Nineteen Thousand Six Hundred Only | 21.01 | Two or more coats on new work (13.61.1) | 250 | sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS : 1285, fixing with dash fastners of required dia & size, including necessary filling up the gaps at junctions, i.e. top, bottom and sides with required EPDM rubber /neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling,C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing and panelling to be paid for separately.) | [53 empty] | 22 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS : 1285, fixing with dash fastners of required dia & size, including necessary filling up the gaps at junctions, i.e. top, bottom and sides with required EPDM rubber /neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / panelling,C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing and panelling to be paid for separately.) |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
22.01 | For fixed portion | [53 empty] | 22.01 | For fixed portion |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
22.02 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15). (21.1.1.1) |  | 860 | kg | 355.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 305472 | 305472 | INR Three Lakh Five Thousand Four Hundred & Seventy Two Only | 22.02 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15). (21.1.1.1) | 860 | kg | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or garded wood particle board conforming to IS : 12823 Grade I Type II, in panelling fixed in aluminium doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | [53 empty] | 23 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or garded wood particle board conforming to IS : 12823 Grade I Type II, in panelling fixed in aluminium doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
23.01 | Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side (21.2.1) |  | 28 | sqm | 826.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23137.8 | 23137.8 | INR Twenty Three Thousand One Hundred & Thirty Seven and Paise Eighty Only | 23.01 | Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side (21.2.1) | 28 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item.) | [53 empty] | 24 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item.) |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
24.01 | With float glass panes of 5.50 mm thickness (21.3.2) |  | 55 | sqm | 1003.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55217.25 | 55217.25 | INR Fifty Five Thousand Two Hundred & Seventeen and Paise Twenty Five Only | 24.01 | With float glass panes of 5.50 mm thickness (21.3.2) | 55 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: | [53 empty] | 25 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
25.01 | 125 mm (9.100.1) |  | 12 | Nos | 51.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 613.2 | 613.2 | INR Six Hundred & Thirteen and Paise Twenty Only | 25.01 | 125 mm (9.100.1) | 12 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc.complete. (21.13) |  | 6 | Nos | 359 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2154 | 2154 | INR Two Thousand One Hundred & Fifty Four Only | 26 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc.complete. (21.13) | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS:3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701mm to 1000mm), with double speed adjustment with necessary accessories and screws etc. complete. (9.84) |  | 6 | Nos | 388.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2330.4 | 2330.4 | INR Two Thousand Three Hundred & Thirty and Paise Forty Only | 27 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS:3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701mm to 1000mm), with double speed adjustment with necessary accessories and screws etc. complete. (9.84) | 6 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. | [53 empty] | 28 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour and shade with necessary screws etc. complete. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
28.01 | Twin rubber stopper (9.101.2) |  | 6 | Nos | 38 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 228 | 228 | INR Two Hundred & Twenty Eight Only | 28.01 | Twin rubber stopper (9.101.2) | 6 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991,in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T | [53 empty] | 29 | Providing and fixing false ceiling at all heights with integral densified calcium silicate reinforced with fibre and natural filler false ceiling tiles of Size 595x595 mm of approved texture, design and patterns having NRC (Noise Reduction coefficient) of 0.50 (minimum) as per IS 8225:1987, Light reflectance of 85% (minimum). Non combustible as per BS:476 (part-4), fire performance as per BS:476 (part 6 &7), humidity resistance of 100%, thermal conductivity < 0.043 W/m K as per ASTM 518:1991,in true horizontal level suspended on interlocking metal T-Grid of hot dipped galvanised iron section of 0.33mm thick (galvanized @ 120 grams per sqm including both sides) comprising of main-T |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
29.01 | runners of size 24x38 mm of length 3000 mm, cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of Engineer-in-Charge. | [53 empty] | 29.01 | runners of size 24x38 mm of length 3000 mm, cross - T of size 24x32 mm of length 1200 mm and secondary intermediate cross-T of size 24x32 mm of length 600mm to form grid module of size 600 x 600 mm, suspended from ceiling using galvanised mild steel items (galvanizing @ 80 grams per sqm) i.e. 50 mm long, 8 mm outer diameter M-6 dash fasteners, 6 mm dia fully threaded hanger rod upto 1000 mm length and L-shape level adjuster of size 85x25x25x2 mm. Galvanised iron perimeter wall angle of size 24x24x0.40 mm of length 3000 mm to be fixed on periphery wall / partition with the help of plastic rawl plugs at 450 mm center to center and 40 mm long dry wall S.S screws. The work shall be carried out as per specifications, drawing and as per directions of Engineer-in-Charge. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
29.02 | With 15 mm thick tegular edged light weight calcium silicate false ceiling tiles. (26.22.1) |  | 257 | sqm | 1533.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 394096.65 | 394096.65 | INR Three Lakh Ninety Four Thousand &Ninety Six and Paise Sixty Five Only | 29.02 | With 15 mm thick tegular edged light weight calcium silicate false ceiling tiles. (26.22.1) | 257 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Providing and laying 75 mm thick compacted bed of dry brick aggregate of 40 mm thick nominal size including spreading, well ramming, consolidating and grouting with jamuna sand, including finishing smooth etc. complete as per direction of Engineer-in-charge. (16.64) |  | 8 | sqm | 141.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1130.8 | 1130.8 | INR One Thousand One Hundred & Thirty and Paise Eighty Only | 30 | Providing and laying 75 mm thick compacted bed of dry brick aggregate of 40 mm thick nominal size including spreading, well ramming, consolidating and grouting with jamuna sand, including finishing smooth etc. complete as per direction of Engineer-in-charge. (16.64) | 8 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
31 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level up to floor V level : | [53 empty] | 31 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 75 in superstructure above plinth level up to floor V level : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
31.01 | Cement mortar 1:4 (1 Cement : 4 coarse sand) (6.13.2) |  | 5 | sqm | 684.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3421 | 3421 | INR Three Thousand Four Hundred & Twenty One Only | 31.01 | Cement mortar 1:4 (1 Cement : 4 coarse sand) (6.13.2) | 5 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 32 | Providing and fixing soil, waste and vent pipes : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
32.01 | 100 mm dia. | [53 empty] | 32.01 | 100 mm dia. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
32.02 | Centrifugally cast (spun) iron socket & spigot (S &S) pipe as per IS :3989 (17.35.1.2) |  | 28 | metre | 921.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25806.2 | 25806.2 | INR Twenty Five Thousand Eight Hundred & Six and Paise Twenty Only | 32.02 | Centrifugally cast (spun) iron socket & spigot (S &S) pipe as per IS :3989 (17.35.1.2) | 28 | metre | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
33 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter: | [53 empty] | 33 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
33.01 | 100 mm (17.58.1) |  | 26 | Nos. | 309.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8058.7 | 8058.7 | INR Eight Thousand &Fifty Eight and Paise Seventy Only | 33.01 | 100 mm (17.58.1) | 26 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Providing and fixing collar : | [53 empty] | 34 | Providing and fixing collar : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
34.01 | 100 mm | [53 empty] | 34.01 | 100 mm |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
34.02 | Sand cast iron S&S as per IS - 3989 (17.57.1.2) |  | 5 | Nos. | 351.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1756 | 1756 | INR One Thousand Seven Hundred & Fifty Six Only | 34.02 | Sand cast iron S&S as per IS - 3989 (17.57.1.2) | 5 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 35 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
35.01 | 100 mm | [53 empty] | 35.01 | 100 mm |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
35.02 | Sand cast iron S&S as per IS:- 3989 (17.38.1.2) |  | 6 | Nos. | 384.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2309.4 | 2309.4 | INR Two Thousand Three Hundred & Nine and Paise Forty Only | 35.02 | Sand cast iron S&S as per IS:- 3989 (17.38.1.2) | 6 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
36 | Providing and fixing plain bend of required degree. | [53 empty] | 36 | Providing and fixing plain bend of required degree. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
36.01 | 100 mm | [53 empty] | 36.01 | 100 mm |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
36.02 | Sand cast iron S&S as per IS: - 3989 (17.39.1.2) |  | 10 | Nos. | 334.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3349.5 | 3349.5 | INR Three Thousand Three Hundred & Forty Nine and Paise Fifty Only | 36.02 | Sand cast iron S&S as per IS: - 3989 (17.39.1.2) | 10 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
37 | Providing and fixing single equal plain junction of required degree. | [53 empty] | 37 | Providing and fixing single equal plain junction of required degree. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
37.01 | 100x100x100mm | [53 empty] | 37.01 | 100x100x100mm |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
37.02 | Sand cast iron S&S as per IS: - 3989 (17.44.1.2) |  | 6 | Nos. | 575.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3452.4 | 3452.4 | INR Three Thousand Four Hundred & Fifty Two and Paise Forty Only | 37.02 | Sand cast iron S&S as per IS: - 3989 (17.44.1.2) | 6 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 38 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
38.01 | 100 mm inlet and 100 mm outlet | [53 empty] | 38.01 | 100 mm inlet and 100 mm outlet |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
38.02 | Sand cast iron S&S as per IS: - 3989 (17.60.1.1) |  | 4 | Nos. | 1034.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4137.8 | 4137.8 | INR Four Thousand One Hundred & Thirty Seven and Paise Eighty Only | 38.02 | Sand cast iron S&S as per IS: - 3989 (17.60.1.1) | 4 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | Providing and fixing 100mm sand cast Iron grating for gully trap.(17.29) |  | 3 | Nos. | 29.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 87.75 | 87.75 | INR Eighty Seven and Paise Seventy Five Only | 39 | Providing and fixing 100mm sand cast Iron grating for gully trap.(17.29) | 3 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
40 | Providing and fixing water closet squatting pan ( Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required.: | [53 empty] | 40 | Providing and fixing water closet squatting pan ( Indian type W.C. pan ) with 100mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required.: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
40.01 | White Vitreous china Orissa pattern W.C. pan.of size 580x440mm with integral type foot rests. (17.1.1) |  | 1 | Nos. | 3494.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3494.2 | 3494.2 | INR Three Thousand Four Hundred & Ninety Four and Paise Twenty Only | 40.01 | White Vitreous china Orissa pattern W.C. pan.of size 580x440mm with integral type foot rests. (17.1.1) | 1 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : | [53 empty] | 41 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete including cutting and making good the walls and floors wherever required : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
41.01 | W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) |  | 1 | Nos. | 3418.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3418.7 | 3418.7 | INR Three Thousand Four Hundred & Eighteen and Paise Seventy Only | 41.01 | W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | 1 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
42 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : | [53 empty] | 42 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
42.01 | White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) |  | 2 | Nos. | 2020.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4041.2 | 4041.2 | INR Four Thousand &Forty One and Paise Twenty Only | 42.01 | White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | 2 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
43 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | [53 empty] | 43 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
43.01 | Semi rigid pipe | [53 empty] | 43.01 | Semi rigid pipe |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
43.02 | 32 mm dia (17.28.1.1) |  | 6 | Nos. | 75.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 453.6 | 453.6 | INR Four Hundred & Fifty Three and Paise Sixty Only | 43.02 | 32 mm dia (17.28.1.1) | 6 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. (17.31) |  | 2 | Nos. | 817.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1635.9 | 1635.9 | INR One Thousand Six Hundred & Thirty Five and Paise Ninety Only | 44 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete. (17.31) | 2 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
45 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1cement : 3 coarse sand ) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete. | [53 empty] | 45 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1cement : 3 coarse sand ) finished with a floating coat of neat cement and making necessary channels for the drain etc. complete. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
45.01 | For pipes 100 to 250 mm diameter (19.21.1) |  | 1 | Nos | 391.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 391.15 | 391.15 | INR Three Hundred & Ninety One and Paise Fifteen Only | 45.01 | For pipes 100 to 250 mm diameter (19.21.1) | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps,including cutting and making good the walls etc. Internal work - exposed on wall | [53 empty] | 46 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps,including cutting and making good the walls etc. Internal work - exposed on wall |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
46.01 | (a) 15mm dia. nominal bore (18.10.1) |  | 36 | metre | 186.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6710.4 | 6710.4 | INR Six Thousand Seven Hundred & Ten and Paise Forty Only | 46.01 | (a) 15mm dia. nominal bore (18.10.1) | 36 | metre | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
46.02 | (b) 25mm dia. nominal bore (18.10.3) |  | 10 | metre | 247.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2478.5 | 2478.5 | INR Two Thousand Four Hundred & Seventy Eight and Paise Fifty Only | 46.02 | (b) 25mm dia. nominal bore (18.10.3) | 10 | metre | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
47 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 | [53 empty] | 47 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
47.01 | a) 15 mm nominal bore (18.49.1) |  | 3 | Nos. | 371.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1115.1 | 1115.1 | INR One Thousand One Hundred & Fifteen and Paise Ten Only | 47.01 | a) 15 mm nominal bore (18.49.1) | 3 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931 | [53 empty] | 48 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
48.01 | a) 15 mm nominal bore (18.52.1) |  | 5 | Nos. | 545.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2729.75 | 2729.75 | INR Two Thousand Seven Hundred & Twenty Nine and Paise Seventy Five Only | 48.01 | a) 15 mm nominal bore (18.52.1) | 5 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
49 | Making connection of G.I. distribution branch with G.I.main of following sizes by providing and fixing tee,including cutting and threading the pipe etc. complete. | [53 empty] | 49 | Making connection of G.I. distribution branch with G.I.main of following sizes by providing and fixing tee,including cutting and threading the pipe etc. complete. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
49.01 | 25 to 40 mm nominal bore (18.13.1) |  | 1 | Nos. | 394.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 394.15 | 394.15 | INR Three Hundred & Ninety Four and Paise Fifteen Only | 49.01 | 25 to 40 mm nominal bore (18.13.1) | 1 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
50 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work. | [53 empty] | 50 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
50.01 | 25 mm diameter pipe. (18.38.3) |  | 10 | metre | 15.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 155 | 155 | INR One Hundred & Fifty Five Only | 50.01 | 25 mm diameter pipe. (18.38.3) | 10 | metre | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
51 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 ( thickness to be specified by the manufacturer) of approved make in all colours, shades except begundy, bottle green, black of any size as approved by Eningeer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of Cement Mortar 1:3 (1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. (11.36) |  | 24 | sqm | 744.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 17875.2 | 17875.2 | INR Seventeen Thousand Eight Hundred & Seventy Five and Paise Twenty Only | 51 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS : 15622 ( thickness to be specified by the manufacturer) of approved make in all colours, shades except begundy, bottle green, black of any size as approved by Eningeer-in-Charge in skirting, risers of steps and dados over 12 mm thick bed of Cement Mortar 1:3 (1 Cement : 3 Coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm including pointing in white cement mixed with pigment of matching shade complete. (11.36) | 24 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52 | Providing and laying Ceramic glazed floor tiles 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in all colours such as White, Ivory, Grey, Fume Red Brown laid on 20mm thick bed of Cement Mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigments etc., complete. (11.37) |  | 18 | sqm | 688.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12390.3 | 12390.3 | INR Twelve Thousand Three Hundred & Ninety and Paise Thirty Only | 52 | Providing and laying Ceramic glazed floor tiles 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in all colours such as White, Ivory, Grey, Fume Red Brown laid on 20mm thick bed of Cement Mortar 1:4 (1 Cement : 4 Coarse sand) including pointing the joints with white cement and matching pigments etc., complete. (11.37) | 18 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
53 | Finishing walls with Acrylic Smooth exterior paint of required shade : | [53 empty] | 53 | Finishing walls with Acrylic Smooth exterior paint of required shade : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
53.01 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) (13.46.1) |  | 27 | sqm | 96.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2593.35 | 2593.35 | INR Two Thousand Five Hundred & Ninety Three and Paise Thirty Five Only | 53.01 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) (13.46.1) | 27 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
54 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20cm in depth including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed , within a lead of 50m | [53 empty] | 54 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20cm in depth including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed , within a lead of 50m |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
54.01 | All kinds of soil | [53 empty] | 54.01 | All kinds of soil |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
54.02 | Pipes, cables etc. exceeding 80mm dia. but not exceeding 300 mm dia. (2.10.1.2) |  | 11 | metre | 225.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2479.95 | 2479.95 | INR Two Thousand Four Hundred & Seventy Nine and Paise Ninety Five Only | 54.02 | Pipes, cables etc. exceeding 80mm dia. but not exceeding 300 mm dia. (2.10.1.2) | 11 | metre | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
55 | Providing, laying and jointing glazed stoneware Class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete | [53 empty] | 55 | Providing, laying and jointing glazed stoneware Class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
55.01 | 150 mm diameter (19.1.2) |  | 10 | metre | 327.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3270.5 | 3270.5 | INR Three Thousand Two Hundred & Seventy and Paise Fifty Only | 55.01 | 150 mm diameter (19.1.2) | 10 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
56 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all round S.W. pipes including bed concrete as per standard design: | [53 empty] | 56 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all round S.W. pipes including bed concrete as per standard design: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
56.01 | 150 mm diameter S.W. pipe (19.2.2) |  | 10 | metre | 761.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7618.5 | 7618.5 | INR Seven Thousand Six Hundred & Eighteen and Paise Fifty Only | 56.01 | 150 mm diameter S.W. pipe (19.2.2) | 10 | metre | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
57 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with 75 class designation bricks in cement mortar 1:4 (1 cement : 4 coarse sand) C.I. cover with frame (light duty) 455 x 610mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) R.C.C. top slab with 1:2:4 mix (1 cement :2 coarse sand : 4 graded stone aggregate 20 mm nominal size) foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design: | [53 empty] | 57 | Constructing brick masonry chamber for underground C.I. inspection chamber and bends with 75 class designation bricks in cement mortar 1:4 (1 cement : 4 coarse sand) C.I. cover with frame (light duty) 455 x 610mm internal dimensions, total weight of cover with frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) R.C.C. top slab with 1:2:4 mix (1 cement :2 coarse sand : 4 graded stone aggregate 20 mm nominal size) foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished smooth with a floating coat of neat cement on walls and bed concrete etc. complete as per standard design: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
57.01 | Inside dimensions 455x610 mm and 45 cm deep for single pipe line- | [53 empty] | 57.01 | Inside dimensions 455x610 mm and 45 cm deep for single pipe line- |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
57.02 | With F.P.S. bricks (19.30.1.1) |  | 2 | Nos | 4777.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9554.7 | 9554.7 | INR Nine Thousand Five Hundred & Fifty Four and Paise Seventy Only | 57.02 | With F.P.S. bricks (19.30.1.1) | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
58 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : | [53 empty] | 58 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
58.01 | Single half stall urinal with 5 litre P.V.C. automatic flushing cistern (17.5.1) |  | 2 | Nos | 6187.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12374.8 | 12374.8 | INR Twelve Thousand Three Hundred & Seventy Four and Paise Eighty Only | 58.01 | Single half stall urinal with 5 litre P.V.C. automatic flushing cistern (17.5.1) | 2 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
59 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. (12.50) |  | 13 | Sqm | 550.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7155.2 | 7155.2 | INR Seven Thousand One Hundred & Fifty Five and Paise Twenty Only | 59 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. (12.50) | 13 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
60 | Removing of old aluminium partition including doors, windows, ventilation and refixing at new places as per direction of Engineer-in-charge/ Departmnet. The contractor shall have to arrange, S.S. Screws, PVC gully, neoprin gasket and other petty items as per site requirements) only labiur rate. (Approved rate) Resolution no. 22 dated :- 26.06.2008 |  | 184 | sqm | 200 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 36800 | 36800 | INR Thirty Six Thousand Eight Hundred Only | 60 | Removing of old aluminium partition including doors, windows, ventilation and refixing at new places as per direction of Engineer-in-charge/ Departmnet. The contractor shall have to arrange, S.S. Screws, PVC gully, neoprin gasket and other petty items as per site requirements) only labiur rate. (Approved rate) Resolution no. 22 dated :- 26.06.2008 | 184 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
61 | Carriage of Malba (approved rate) |  | 5 | trip | 339 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1695 | 1695 | INR One Thousand Six Hundred & Ninety Five Only | 61 | Carriage of Malba (approved rate) | 5 | trip | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | 2756292.35 | 1660238.25 | INR Sixteen Lakh Sixty Thousand Two Hundred & Thirty Eight and Paise Twenty Five Only |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information