## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: Superinteding Engineer, Institute Works Department, IIT(BHU), Varanasi
Name of Work: Renovation of toilet (Mess side) and damaged sewer line of toilet both side of Rajputana Hostel, IIT (BHU), Varanasi.
Contract No: <Enter Contract No Details>
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Renovation of toilet (Mess side) and damaged sewer line of toilet both side of Rajputana Hostel, IIT (BHU), Varanasi. | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Renovation of toilet (Mess side) and damaged sewer line of toilet both side of Rajputana Hostel, IIT (BHU), Varanasi. | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm (15.23.1) | BI01010001010000000000000515BI0100001113 | 40 | Sqm | 31.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1262 | 1262 | INR One Thousand Two Hundred & Sixty Two Only | 1.1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm (15.23.1) | BI01010001010000000000000515BI0100001113 | 40 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | BI01010001010000000000000515BI0100001114 | 23 | Sqm | 22.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 515.2 | 515.2 | INR Five Hundred & Fifteen and Paise Twenty Only | 2 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | BI01010001010000000000000515BI0100001114 | 23 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001115 | 4 | Cum | 997.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3988.2 | 3988.2 | INR Three Thousand Nine Hundred & Eighty Eight and Paise Twenty Only | 3 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | BI01010001010000000000000515BI0100001115 | 4 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001116 | 2 | Cum | 842.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1685.5 | 1685.5 | INR One Thousand Six Hundred & Eighty Five and Paise Fifty Only | 4 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. In cement mortar (15.7.4) | BI01010001010000000000000515BI0100001116 | 2 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001117 | 46 | Sqm | 87.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4018.1 | 4018.1 | INR Four Thousand &Eighteen and Paise Ten Only | 5 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | BI01010001010000000000000515BI0100001117 | 46 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001118 | 114 | Sqm | 93.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10681.8 | 10681.8 | INR Ten Thousand Six Hundred & Eighty One and Paise Eighty Only | 6 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | BI01010001010000000000000515BI0100001118 | 114 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work (14.54.1) | BI01010001010000000000000515BI0100001119 | 14 | Sqm | 51.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 718.2 | 718.2 | INR Seven Hundred & Eighteen and Paise Twenty Only | 7 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work (14.54.1) | BI01010001010000000000000515BI0100001119 | 14 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | BI01010001010000000000000515BI0100001120 | 1 | Cum | 5481.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5481.95 | 5481.95 | INR Five Thousand Four Hundred & Eighty One and Paise Ninety Five Only | 8 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | BI01010001010000000000000515BI0100001120 | 1 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Providing and fixing soil, waste and vent pipes : Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 (17.35.1.2) | BI01010001010000000000000515BI0100001121 | 16 | Mtr. | 921.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14746.4 | 14746.4 | INR Fourteen Thousand Seven Hundred & Forty Six and Paise Forty Only | 9 | Providing and fixing soil, waste and vent pipes : Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 (17.35.1.2) | BI01010001010000000000000515BI0100001121 | 16 | Mtr. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Providing and fixing collar : Sand cast iron S&S as per IS - 3989 (17.57.1.2) | BI01010001010000000000000515BI0100001122 | 6 | Nos. | 351.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2107.2 | 2107.2 | INR Two Thousand One Hundred & Seven and Paise Twenty Only | 10 | Providing and fixing collar : Sand cast iron S&S as per IS - 3989 (17.57.1.2) | BI01010001010000000000000515BI0100001122 | 6 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm (17.58.1) | BI01010001010000000000000515BI0100001123 | 12 | Nos. | 309.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3719.4 | 3719.4 | INR Three Thousand Seven Hundred & Nineteen and Paise Forty Only | 11 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : 100 mm (17.58.1) | BI01010001010000000000000515BI0100001123 | 12 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete Sand cast iron S&S as per IS - 3989(17.38.1.2) | BI01010001010000000000000515BI0100001125 | 4 | Nos. | 384.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1539.6 | 1539.6 | INR One Thousand Five Hundred & Thirty Nine and Paise Sixty Only | 12 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete Sand cast iron S&S as per IS - 3989(17.38.1.2) | BI01010001010000000000000515BI0100001125 | 4 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Providing and fixing plain bend of required degree. Sand cast iron S&S as per IS : 3989 (17.39.1.2) | BI01010001010000000000000515BI0100001126 | 2 | Nos. | 334.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 669.9 | 669.9 | INR Six Hundred & Sixty Nine and Paise Ninety Only | 13 | Providing and fixing plain bend of required degree. Sand cast iron S&S as per IS : 3989 (17.39.1.2) | BI01010001010000000000000515BI0100001126 | 2 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Providing and fixing double equal plain junction of required degree. 100x100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.42.1.2) | BI01010001010000000000000515BI0100001127 | 4 | Nos. | 747.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2989.2 | 2989.2 | INR Two Thousand Nine Hundred & Eighty Nine and Paise Twenty Only | 14 | Providing and fixing double equal plain junction of required degree. 100x100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.42.1.2) | BI01010001010000000000000515BI0100001127 | 4 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.43.1.2) | BI01010001010000000000000515BI0100001128 | 4 | Nos. | 623 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2492 | 2492 | INR Two Thousand Four Hundred & Ninety Two Only | 15 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. 100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.43.1.2) | BI01010001010000000000000515BI0100001128 | 4 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16 | Providing and fixing single equal plain junction of required degree : 100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.44.1.2) | BI01010001010000000000000515BI0100001129 | 4 | Nos. | 575.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2301.6 | 2301.6 | INR Two Thousand Three Hundred & One and Paise Sixty Only | 16 | Providing and fixing single equal plain junction of required degree : 100x100x100 mm Sand cast iron S&S as per IS - 3989 (17.44.1.2) | BI01010001010000000000000515BI0100001129 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
17 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 3989 (17.60.1.1) | BI01010001010000000000000515BI0100001130 | 4 | Nos. | 1034.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4137.8 | 4137.8 | INR Four Thousand One Hundred & Thirty Seven and Paise Eighty Only | 17 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 100 mm outlet Sand cast iron S&S as per IS: 3989 (17.60.1.1) | BI01010001010000000000000515BI0100001130 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Providing and fixing 100 mm sand cast Iron grating for gully trap. (17.29) | BI01010001010000000000000515BI0100001131 | 8 | Nos. | 29.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 234 | 234 | INR Two Hundred & Thirty Four Only | 18 | Providing and fixing 100 mm sand cast Iron grating for gully trap. (17.29) | BI01010001010000000000000515BI0100001131 | 8 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Providing and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : 100 mm (17.59.1) | BI01010001010000000000000515BI0100001132 | 4 | Nos. | 62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 248 | 248 | INR Two Hundred & Forty Eight Only | 19 | Providing and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : 100 mm (17.59.1) | BI01010001010000000000000515BI0100001132 | 4 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests (17.1.1) | BI01010001010000000000000515BI0100001133 | 2 | Nos. | 3494.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6988.4 | 6988.4 | INR Six Thousand Nine Hundred & Eighty Eight and Paise Forty Only | 20 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests (17.1.1) | BI01010001010000000000000515BI0100001133 | 2 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | BI01010001010000000000000515BI0100001134 | 2 | Nos | 3418.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6837.4 | 6837.4 | INR Six Thousand Eight Hundred & Thirty Seven and Paise Forty Only | 21 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | BI01010001010000000000000515BI0100001134 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | BI01010001010000000000000515BI0100001135 | 4 | Nos | 2020.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8082.4 | 8082.4 | INR Eight Thousand &Eighty Two and Paise Forty Only | 22 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | BI01010001010000000000000515BI0100001135 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
23 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia (17.28.1.1) | BI01010001010000000000000515BI0100001136 | 2 | Nos | 75.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 151.2 | 151.2 | INR One Hundred & Fifty One and Paise Twenty Only | 23 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Semi rigid pipe 32 mm dia (17.28.1.1) | BI01010001010000000000000515BI0100001136 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
24 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm (17.32.2) | BI01010001010000000000000515BI0100001137 | 4 | Nos | 752.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3011.2 | 3011.2 | INR Three Thousand &Eleven and Paise Twenty Only | 24 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : Rectangular shape 453x357 mm (17.32.2) | BI01010001010000000000000515BI0100001137 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
25 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter (19.21.1) | BI01010001010000000000000515BI0100001138 | 2 | Nos | 391.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 782.3 | 782.3 | INR Seven Hundred & Eighty Two and Paise Thirty Only | 25 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : For pipes 100 to 250 mm diameter (19.21.1) | BI01010001010000000000000515BI0100001138 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
26 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) (6.13.2) | BI01010001010000000000000515BI0100001139 | 3 | Sqm | 684.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2052.6 | 2052.6 | INR Two Thousand &Fifty Two and Paise Sixty Only | 26 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. Cement mortar 1:4 (1 cement :4 coarse sand) (6.13.2) | BI01010001010000000000000515BI0100001139 | 3 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall (A) 15 mm dia nominal bore (18.10.1) | BI01010001010000000000000515BI0100001140 | 16 | Mtrs | 186.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2982.4 | 2982.4 | INR Two Thousand Nine Hundred & Eighty Two and Paise Forty Only | 27 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. Internal work - Exposed on wall (A) 15 mm dia nominal bore (18.10.1) | BI01010001010000000000000515BI0100001140 | 16 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27.1 | (B)25 mm dia nominal bore (18.10.3) | BI01010001010000000000000515BI0100001141 | 9 | Mtrs | 247.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2230.65 | 2230.65 | INR Two Thousand Two Hundred & Thirty and Paise Sixty Five Only | 27.1 | (B)25 mm dia nominal bore (18.10.3) | BI01010001010000000000000515BI0100001141 | 9 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
28 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001142 | 8 | Nos | 371.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2973.6 | 2973.6 | INR Two Thousand Nine Hundred & Seventy Three and Paise Sixty Only | 28 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore (18.49.1) | BI01010001010000000000000515BI0100001142 | 8 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
29 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001143 | 8 | Nos | 545.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4367.6 | 4367.6 | INR Four Thousand Three Hundred & Sixty Seven and Paise Sixty Only | 29 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. 15 mm nominal bore (18.52.1) | BI01010001010000000000000515BI0100001143 | 8 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
30 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms (18.64) | BI01010001010000000000000515BI0100001144 | 4 | Nos | 100.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 402.8 | 402.8 | INR Four Hundred & Two and Paise Eighty Only | 30 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms (18.64) | BI01010001010000000000000515BI0100001144 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
31 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore (18.13.1) | BI01010001010000000000000515BI0100001145 | 2 | Nos | 394.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 788.3 | 788.3 | INR Seven Hundred & Eighty Eight and Paise Thirty Only | 31 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore (18.13.1) | BI01010001010000000000000515BI0100001145 | 2 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
32 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (11.36) | BI01010001010000000000000515BI0100001146 | 42 | Sqm | 744.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31281.6 | 31281.6 | INR Thirty One Thousand Two Hundred & Eighty One and Paise Sixty Only | 32 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (11.36) | BI01010001010000000000000515BI0100001146 | 42 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
33 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) | BI01010001010000000000000515BI0100001147 | 39 | Sqm | 688.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26845.65 | 26845.65 | INR Twenty Six Thousand Eight Hundred & Forty Five and Paise Sixty Five Only | 33 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) | BI01010001010000000000000515BI0100001147 | 39 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | BI01010001010000000000000515BI0100001148 | 70 | Kg | 85.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6016.5 | 6016.5 | INR Six Thousand &Sixteen and Paise Fifty Only | 34 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | BI01010001010000000000000515BI0100001148 | 70 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
35 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | BI01010001010000000000000515BI0100001149 | 10 | Sqm | 2372.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23728 | 23728 | INR Twenty Three Thousand Seven Hundred & Twenty Eight Only | 35 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | BI01010001010000000000000515BI0100001149 | 10 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
36 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | BI01010001010000000000000515BI0100001150 | 15 | Sqm | 112.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1684.5 | 1684.5 | INR One Thousand Six Hundred & Eighty Four and Paise Fifty Only | 36 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | BI01010001010000000000000515BI0100001150 | 15 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
37 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | BI01010001010000000000000515BI0100001151 | 2 | Kg | 355.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 710.4 | 710.4 | INR Seven Hundred & Ten and Paise Forty Only | 37 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | BI01010001010000000000000515BI0100001151 | 2 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
38 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm (9.100.1) | BI01010001010000000000000515BI0100001152 | 8 | Nos | 51.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 408.8 | 408.8 | INR Four Hundred & Eight and Paise Eighty Only | 38 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : 125 mm (9.100.1) | BI01010001010000000000000515BI0100001152 | 8 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
39 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm (9.97.2) | BI01010001010000000000000515BI0100001153 | 4 | Nos | 88.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 352.4 | 352.4 | INR Three Hundred & Fifty Two and Paise Forty Only | 39 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 250x10 mm (9.97.2) | BI01010001010000000000000515BI0100001153 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
40 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm (9.96.2) | BI01010001010000000000000515BI0100001154 | 4 | Nos | 189.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 756.8 | 756.8 | INR Seven Hundred & Fifty Six and Paise Eighty Only | 40 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm (9.96.2) | BI01010001010000000000000515BI0100001154 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
41 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work (13.61.1) | BI01010001010000000000000515BI0100001155 | 23 | Sqm | 78.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1803.2 | 1803.2 | INR One Thousand Eight Hundred & Three and Paise Twenty Only | 41 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work (13.61.1) | BI01010001010000000000000515BI0100001155 | 23 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
42 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (10.2) | BI01010001010000000000000515BI0100001156 | 29 | Kg | 67.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1960.4 | 1960.4 | INR One Thousand Nine Hundred & Sixty and Paise Forty Only | 42 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (10.2) | BI01010001010000000000000515BI0100001156 | 29 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
43 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm (9.97.1) | BI01010001010000000000000515BI0100001157 | 8 | Nos | 99.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 797.6 | 797.6 | INR Seven Hundred & Ninety Seven and Paise Sixty Only | 43 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : 300x10 mm (9.97.1) | BI01010001010000000000000515BI0100001157 | 8 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
44 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm (9.96.1) | BI01010001010000000000000515BI0100001158 | 4 | Nos | 212.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 849.8 | 849.8 | INR Eight Hundred & Forty Nine and Paise Eighty Only | 44 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 300x16 mm (9.96.1) | BI01010001010000000000000515BI0100001158 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
45 | 12 mm cement plaster of mix : (A) 1:4 (1 cement: 4 coarse sand) (13.4.1) | BI01010001010000000000000515BI0100001159 | 28 | Sqm | 180.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5063.8 | 5063.8 | INR Five Thousand &Sixty Three and Paise Eighty Only | 45 | 12 mm cement plaster of mix : (A) 1:4 (1 cement: 4 coarse sand) (13.4.1) | BI01010001010000000000000515BI0100001159 | 28 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
45.1 | 15 mm cement plaster on rough side of single or half brick wall of mix : (B) 1:6 (1 cement: 6 coarse sand) (13.5.2) | BI01010001010000000000000515BI0100001160 | 6 | Sqm | 194.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1167.6 | 1167.6 | INR One Thousand One Hundred & Sixty Seven and Paise Sixty Only | 45.1 | 15 mm cement plaster on rough side of single or half brick wall of mix : (B) 1:6 (1 cement: 6 coarse sand) (13.5.2) | BI01010001010000000000000515BI0100001160 | 6 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
46 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) ( 13.46.1 ) | BI01010001010000000000000515BI0100001161 | 81 | Sqm | 96.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7780.05 | 7780.05 | INR Seven Thousand Seven Hundred & Eighty and Paise Five Only | 46 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) ( 13.46.1 ) | BI01010001010000000000000515BI0100001161 | 81 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
47 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia (2.10.1.2) | BI01010001010000000000000515BI0100001162 | 313 | Mtr | 225.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 70565.85 | 70565.85 | INR Seventy Thousand Five Hundred & Sixty Five and Paise Eighty Five Only | 47 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia (2.10.1.2) | BI01010001010000000000000515BI0100001162 | 313 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
48 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 150 mm diameter S.W. pipe (19.2.2) | BI01010001010000000000000515BI0100001163 | 313 | Mtr | 761.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 238459.05 | 238459.05 | INR Two Lakh Thirty Eight Thousand Four Hundred & Fifty Nine and Paise Five Only | 48 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design : 150 mm diameter S.W. pipe (19.2.2) | BI01010001010000000000000515BI0100001163 | 313 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
49 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : 150 mm diameter S.W. pipe (19.3.2) | BI01010001010000000000000515BI0100001164 | 200 | Mtr | 479.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 95970 | 95970 | INR Ninety Five Thousand Nine Hundred & Seventy Only | 49 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. pipes including bed concrete as per standard design : 150 mm diameter S.W. pipe (19.3.2) | BI01010001010000000000000515BI0100001164 | 200 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
50 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 150 mm diameter (19.1.2) | BI01010001010000000000000515BI0100001165 | 313 | Mtr | 327.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 102366.65 | 102366.65 | INR One Lakh Two Thousand Three Hundred & Sixty Six and Paise Sixty Five Only | 50 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 150 mm diameter (19.1.2) | BI01010001010000000000000515BI0100001165 | 313 | Mtr | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
51 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 (19.7.3.1) | BI01010001010000000000000515BI0100001166 | 4 | Nos | 22983.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 91933 | 91933 | INR Ninety One Thousand Nine Hundred & Thirty Three Only | 51 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 (19.7.3.1) | BI01010001010000000000000515BI0100001166 | 4 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
52 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size ) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.33.1) | BI01010001010000000000000515BI0100001167 | 12 | Nos | 6849.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 82195.2 | 82195.2 | INR Eighty Two Thousand One Hundred & Ninety Five and Paise Twenty Only | 52 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size ) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.33.1) | BI01010001010000000000000515BI0100001167 | 12 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
53 | Constructing masonry Chamber 60x45x50 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for water meter complete with C.I. double flap surface box 400x200x200 mm (inside) with locking arrangement and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) , i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand:10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.37.1) | BI01010001010000000000000515BI0100001168 | 16 | Nos | 6088.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 97417.6 | 97417.6 | INR Ninety Seven Thousand Four Hundred & Seventeen and Paise Sixty Only | 53 | Constructing masonry Chamber 60x45x50 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for water meter complete with C.I. double flap surface box 400x200x200 mm (inside) with locking arrangement and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) , i/c necessary excavation, foundation concrete 1:5:10 ( 1 cement : 5 fine sand:10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 (18.37.1) | BI01010001010000000000000515BI0100001168 | 16 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
54 | Carriage of malba (approved rate) | BI01010001010000000000000515BI0100001169 | 4 | trip | 339 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1356 | 1356 | INR One Thousand Three Hundred & Fifty Six Only | 54 | Carriage of malba (approved rate) | BI01010001010000000000000515BI0100001169 | 4 | trip | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Total in Figures | [51 empty] | 996657.35 | 996657.35 | INR Nine Lakh Ninety Six Thousand Six Hundred & Fifty Seven and Paise Thirty Five Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information