## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.1 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: S. E., IWD, IIT(BHU), Varanasi
Name of Work: BOQ for electrical installations and wiring works in Bathroom,mess & Common area of S C Day Hostel IIT(BHU)
Contract No: Ixxxxxxxxxxxxxxxxx
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | RATE In Figures To be entered by the Bidder in Rs. P inclusive of Taxes | GST Percentage | GST Amount in Rs. P | Freight Charges (Unloading & Stacking), if Any in Rs. P | Any Other Taxes/Duties/Levies, if Any in Rs. P | Other Taxes If any in Rs. P | IIIrd Party Inspection Charges @0.34%+Service Tax in Rs. P | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category in Rs. P | [32 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 15 | 16 | 17
0.1 | Item for Supply | [53 empty] | 0.1 | Item for Supply |  |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Make: Polycab/ Finolex/ L&T ) Group A | item1 | 85 | Point | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 1 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. (Make: Polycab/ Finolex/ L&T ) Group A | item1 | 85 | Point | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | item2 | 180 | Mtrs | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2.1 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. (Make: Polycab/ Finolex/ L&T) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | item2 | 180 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | item3 | 80 | Mtrs | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2.2 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | item3 | 80 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.3 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | item4 | 140 | Mtrs | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2.3 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | item4 | 140 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.4 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | item5 | 30 | Mtrs | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 2.4 | 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | item5 | 30 | Mtrs | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Supplying and fixing12 way, Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) (Make: ABB / L&T / Legrand) | item6 | 5 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 3 | Supplying and fixing12 way, Double door, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) (Make: ABB / L&T / Legrand) | item6 | 5 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required . (Make: ABB / L&T / Legrand) Single Pole MCB | item7 | 45 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 4 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required . (Make: ABB / L&T / Legrand) Single Pole MCB | item7 | 45 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | 63 A "C" curve FP MCB with sheet steel enclosure | item8 | 1 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 5 | 63 A "C" curve FP MCB with sheet steel enclosure | item8 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | DP MCB "C" curve 40/63 A | item9 | 5 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 6 | DP MCB "C" curve 40/63 A | item9 | 5 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 Nos. 3 pin 5/6 A modular socket outlet and 2 Nos. 5/ 6 A modular switch, connections etc. as required. (For light plugs to be used in non residential buildings). (Make: ABB / L&T / Legrand) | item10 | 24 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 7 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providng and fixing 2 Nos. 3 pin 5/6 A modular socket outlet and 2 Nos. 5/ 6 A modular switch, connections etc. as required. (For light plugs to be used in non residential buildings). (Make: ABB / L&T / Legrand) | item10 | 24 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. (Make: ABB / L&T / Legrand) | item11 | 24 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 8 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 A & 15/16 A modular socket outlet and 15/16 A modular switch, connections etc. as required. (Make: ABB / L&T / Legrand) | item11 | 24 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Supplying and fixing of 230VAC 1Ph. 300 mm,1400 rpm exhaust Fan with sweep feature. ( Make: Bajaj/Usha / ORIENT / CG/Bajaj) | item12 | 5 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 9 | Supplying and fixing of 230VAC 1Ph. 300 mm,1400 rpm exhaust Fan with sweep feature. ( Make: Bajaj/Usha / ORIENT / CG/Bajaj) | item12 | 5 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Supplying and fixing of 230VAC 1Ph. 450 mm,1400 rpm exhaust Fan with sweep feature. ( Make:Bajaj/ Usha / ORIENT /CG) | item13 | 8 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 10 | Supplying and fixing of 230VAC 1Ph. 450 mm,1400 rpm exhaust Fan with sweep feature. ( Make:Bajaj/ Usha / ORIENT /CG) | item13 | 8 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Supplying and fixing 20W LED batten ( Make: Philips/ Wipro / Polycab) | item14 | 80 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 11 | Supplying and fixing 20W LED batten ( Make: Philips/ Wipro / Polycab) | item14 | 80 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Supply & fixing of 220 V,1PHASE.IP-65,100/110 W LED Flood Light ( Make: Philips/ Wipro / Polycab) | item15 | 10 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 12 | Supply & fixing of 220 V,1PHASE.IP-65,100/110 W LED Flood Light ( Make: Philips/ Wipro / Polycab) | item15 | 10 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | Supply & fixing of 220 V,1PHASE.IP-65,100/110 W LED STREET Light ( Make: Philipse/ Wipro/ Polycab) | item16 | 4 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 13 | Supply & fixing of 220 V,1PHASE.IP-65,100/110 W LED STREET Light ( Make: Philipse/ Wipro/ Polycab) | item16 | 4 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | item17 | 10 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 14 | Supplying and fixing of 230VAC 1Ph. Two module steeped type fan electronic regulator | item17 | 10 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed) with down rod upto 5ft. (Make: Usha / Crompton / Bajaj ) | item18 | 10 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 15 | Supplying and fixing of 230VAC 1Ph. 1400mm dia Ceiling Fan (High Speed) with down rod upto 5ft. (Make: Usha / Crompton / Bajaj ) | item18 | 10 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Supplying,fabricating, making,painting and fixing of MS down rod upto 5 to 7 ft. | item19 | 10 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 16 | Supplying,fabricating, making,painting and fixing of MS down rod upto 5 to 7 ft. | item19 | 10 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17 | Supplying and fixing of 230VAC 1Ph,25 L,Eletric Gyser ( Make: Usha / ORIENT / CG/V-Guard/Bajaj) | item20 | 2 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 17 | Supplying and fixing of 230VAC 1Ph,25 L,Eletric Gyser ( Make: Usha / ORIENT / CG/V-Guard/Bajaj) | item20 | 2 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Supply & Instalation of 220 V,1 PHASE Insect killer (Make: -Trinity / CG/V-Guard/Fonda or Equivalent) | item21 | 2 | Nos | 1350000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  | 0 | [37 empty] | 0 | 0 | INR Zero Only | 18 | Supply & Instalation of 220 V,1 PHASE Insect killer (Make: -Trinity / CG/V-Guard/Fonda or Equivalent) | item21 | 2 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
Total in Figures | [51 empty] | 0 | 0 | INR Zero Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information