## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: AR, IWD, IIT(BHU), Varanasi
Name of Work: SUPPLY, INSTALLATION, TESTING & COMMISSIONING (SITC) OF 11/0.433 kV, 1 MVA INDOOR DISTRIBUTION SUB-STATION IN IIT(BHU), VARANASI
Contract No: IIT(BHU)/IWD/ET/15/2018-19/987 dated 18.07.2018
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate of Supply and Installation in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Total Amount of Supply | Total Amount of Installation |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT For Supply and Installation in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Transformer (Indoor Type) Cooling- ON/AN, Make-Schneider/ABB/CGL/Siemens | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | Supply, Erection, Testing and Commissioning of 11 kV / 0.433 kV, 1000 kVA, Dyn 11 , 5% Impedance, Oil Insulated Transformer with OLTC and RTCC and all accessories complete , Scope shall includes unloading shifting from stores to plinth and BDV test & topping up of fresh transformer oil as per requirement to complete the task. If required filtration of oil. (Specifications as enclosed ANNEXURE-A). | BI01010001010000000000000515BI0100001113 | 1 | Set | 1543195 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 1369500 | 173695 | [35 empty] | 1543195 | 3086390 | INR Thirty Lakh Eighty Six Thousand Three Hundred & Ninety Only | 1.01 | Brick work in C.M 1:5 mix including all labour charges etc complete | BI01010001010000000000000515BI0100001113 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supply, Erection, Testing & Commissioning of 11 KV Vacuum Circuit Breaker Panel including necessary support structure, hardware & testing of the equipment at site after Erection as per specification. All other work to complete the erection of equipment Make-Make-Schneider/ ABB/CGL/ Siemens/ L&T | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | Supply, Installation, Testing & Commissioning of 11 kV, 800A, 26.3kA for 3 sec, Indoor VCB Panel (Extendable) (horizontal isolation) including relay , control panel ,Power Pack and Batteries as per specifications and Data Sheet along with CT&PT. PT should be mounted on incomer side. (Specifications enclosed as ANNEXURE-B). Cable box along with detachable gland plate for 3CX185sqmm XLPE Al cable (11 kV grade for I/C & O/G should be provided and entry of the cables should be bottom.)(Relay should be SCADA compatible with existing SCADA network:- MOD Bus 3 protocol and communication cable of appx length 200mtrs shall be laid as per site conditions/instruction of Engineer-in-charge) | BI01010001010000000000000515BI0100001114 | 1 | Set | 1080000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 935000 | 145000 | [35 empty] | 1080000 | 2160000 | INR Twenty One Lakh Sixty Thousand Only | 1.02 | Brick work in C.M 1:5 mix using 2nd class ground moulded chamber burnt bricks with including cost and conveyance of all materials and including all labour charges etc complete | BI01010001010000000000000515BI0100001114 | 25 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Supply ,Installation, testing and commissioning of L.T. panel boards Compartmental cubicle type, freestanding with appropriate cable entries, with Cu busbars & manufactured based on IS 8623, specifications and single line diagrams. Scope shall include unloading, shifting, unpacking, Section assembly from storage place to desired Installation. All required protections will be as per SLD. Make-Schneider/SIEMENS/ABB/L&T | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | 2000A IP 42 Isolation Panel Consisting of 2000A,ACB,Ics=Icu=50kA & 3 nos CT's of 2000/5A,15VA,CL-PS & 5P20 Resp. as incomer and 1 X 2000 Amps 4 P ACB for Data Centre and 1X 630 Amps 4 Pole MCCB for RTPFC and 1 X 200 Amps TPN MCCB as outgoing. Panel should be cubical type .One no Hydraulic trolley should be provided along with cubical panel. (Specifications as enclosed ANNEXURE-C). | BI01010001010000000000000515BI0100001115 | 1 | Set | 405000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 350000 | 55000 | [35 empty] | 405000 | 810000 | INR Eight Lakh Ten Thousand Only | 1.03 | Plastering in C.M 1:5-12 mm thick with including cost and conveyance of all materials and including all labour charges etc complete | BI01010001010000000000000515BI0100001115 | 20 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
3.02 | Supply installation testing & commissioning of RTPFC Panel of 400kVAR with 7% detuned reactor , Panel should be with Thyristor switch and switching sequence will be 12.5X9 + 25X8 +50X2KVAR Panel should have isolation MCCB with adequate protection .Space heater and cooling fan to be provided in each compartment. MAKE-L&T/SIEMENS/SEIL/ABB (As per ANNEXUR-C of Point No-10) | BI01010001010000000000000515BI0100001116 | 1 | Nos | 1150000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 950000 | 200000 | [35 empty] | 1150000 | 2300000 | INR Twenty Three Lakh Only | 1.04 | Plastering in C.M 1:5-12 mm thick with including cost and conveyance of all materials and in | BI01010001010000000000000515BI0100001116 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
3.03 | ATS Panel-SITC of ATS Panel 2000 Amp 4 Pole 50 KA with Overlapped Neutral facility. The ATS Controller should have communication facility. MAKE-L&T/SIEMENS/SEIL/ABB (Specifications enclosed as ANNEXURE-E) | BI01010001010000000000000515BI0100001117 | 1 | Nos | 2160000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 1950000 | 210000 | [35 empty] | 2160000 | 4320000 | INR Forty Three Lakh Twenty Thousand Only | 1.05 | b) CI bend 22.5° (250mm dia) | BI01010001010000000000000515BI0100001117 | 1.5645 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | Supply, Testing, tagging, laying, & commissioning of following 11 kV grade XLPE HT cable on readymade Trench/Excavation with (sand cushioning of 75mm, laying bricks on both sides of cable) & covering with RCC / PCC tiles or half round hume pipe of 200 mm dia. and refilling of cable trench, leveling of cable trench etc. as required. (Note: Quantity is tentative as Route is tentatively decided).The depth of cable Trench should be minimum-1200mm Make-UNIVERSAL/ GLOSTER/KEI (Specifications as enclosed ANNEXURE-D). | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.01 | 3C x 185sqmm Al.XLPE HT Cable, | BI01010001010000000000000515BI0100001118 | 220 | Rmtr | 1700 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 308000 | 66000 | [35 empty] | 374000 | 748000 | INR Seven Lakh Forty Eight Thousand Only | 2 | Construction of chamber for 100mm sluice plates | BI01010001010000000000000515BI0100001118 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | Supply, installation, testing & commissioning of heat shrink jointing for 11kV HT cables of following sizes including necessary accessories, spider supports, plated hardware like lugs / ferrules, insulation tapes etc. complete. Standard make. Scope also includes making suitable cutouts in gland plate & sealing them after connections.Make-BIRLA-3M/RECHOM | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | Indoor End Termination. | BI01010001010000000000000515BI0100001119 | 4 | Set | 12000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 44000 | 4000 | [35 empty] | 48000 | 96000 | INR Ninety Six Thousand Only | 3 | Construction of chamber for 100mm sluices valve | BI01010001010000000000000515BI0100001119 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6 | Supply installation of Earthing station as per IS 3043 using SIP/PIP electrode complete(Eqvt to Ashlok T 39) with watering pipe & suitable GI strip up to chamber, soil treatment with suitable backfill powder, brick inspection chamber with 450x450 mm CI cover, disconnecting link complete including excavation or earth pit, refilling. | BI01010001010000000000000515BI0100001120 | 8 | Nos | 9500 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 56000 | 20000 | [35 empty] | 76000 | 152000 | INR One Lakh Fifty Two Thousand Only | 4 | Supplying, Conveying and fixing spls. Including ea | BI01010001010000000000000515BI0100001120 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
7 | Statutary Approval from local EB | BI01010001010000000000000515BI0100001121 | 1 | Job | 50000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 50000 | [36 empty] | 50000 | 100000 | INR One Lakh Only | 5 | Supplying, Conveying and fixing spls. Including eart | BI01010001010000000000000515BI0100001121 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Supply, installation, material equipment required as per statutory provision & safety. | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.01 | 11 kV grade Rubber matting 1000 mm width. | BI01010001010000000000000515BI0100001119 | 4 | Mtr | 4000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 16000 | [36 empty] | 16000 | 32000 | INR Thirty Two Thousand Only | 3 | Construction of chamber for 100mm sluices valve | BI01010001010000000000000515BI0100001119 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.02 | 11 kV class Hand gloves. | BI01010001010000000000000515BI0100001120 | 1 | Pair | 2000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 2000 | [36 empty] | 2000 | 4000 | INR Four Thousand Only | 4 | Supplying, Conveying and fixing spls. Including ea | BI01010001010000000000000515BI0100001120 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.03 | 11kV Danger boards of appropriate size & marking. | BI01010001010000000000000515BI0100001121 | 4 | Nos | 160 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 640 | [36 empty] | 640 | 1280 | INR One Thousand Two Hundred & Eighty Only | 5 | Supplying, Conveying and fixing spls. Including eart | BI01010001010000000000000515BI0100001121 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.04 | 433 V Danger boards of appropriate size & marking. | BI01010001010000000000000515BI0100001122 | 4 | Nos | 160 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 640 | [36 empty] | 640 | 1280 | INR One Thousand Two Hundred & Eighty Only | 6 | Construction of chamber for 100mm sluice plates | BI01010001010000000000000515BI0100001122 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.05 | 1.1 kV grade Rubber matting 1000 mm width. | BI01010001010000000000000515BI0100001123 | 4 | Mtr | 3800 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 15200 | [36 empty] | 15200 | 30400 | INR Thirty Thousand Four Hundred Only | 7 | Construction of chamber for 100mm sluices valve | BI01010001010000000000000515BI0100001123 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.06 | First Aid Box | BI01010001010000000000000515BI0100001119 | 3 | Nos | 200 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 600 | [36 empty] | 600 | 1200 | INR One Thousand Two Hundred Only | 3 | Construction of chamber for 100mm sluices valve | BI01010001010000000000000515BI0100001119 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.07 | Laminated First aid chart with frame. | BI01010001010000000000000515BI0100001120 | 3 | Nos | 300 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 900 | [36 empty] | 900 | 1800 | INR One Thousand Eight Hundred Only | 4 | Supplying, Conveying and fixing spls. Including ea | BI01010001010000000000000515BI0100001120 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
8.08 | 4.5 Kg fire extinguisher ABC type | BI01010001010000000000000515BI0100001121 | 5 | Nos | 7000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 35000 | [36 empty] | 35000 | 70000 | INR Seventy Thousand Only | 5 | Supplying, Conveying and fixing spls. Including eart | BI01010001010000000000000515BI0100001121 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.09 | 9 Kg fire extinguisher ABC type | BI01010001010000000000000515BI0100001122 | 5 | Nos | 10000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 50000 | [36 empty] | 50000 | 100000 | INR One Lakh Only | 6 | Construction of chamber for 100mm sluice plates | BI01010001010000000000000515BI0100001122 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Providing of set of 3 nos 9.5 litre capacity GI bucket painted in post office red color with prior coat of red oxide paint FIRE and mounted on MS angle iron frame with bracket of appropriate size and capacity i/c filling sand etc. | BI01010001010000000000000515BI0100001125 | 3 | Nos | 2000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 6000 | [36 empty] | 6000 | 12000 | INR Twelve Thousand Only | 8.01 | Plain Cement Concrete 1:4:8 (one cement four fine aggregates and eight coarse aggregates) using | BI01010001010000000000000515BI0100001125 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | HT Cable Route Marker | BI01010001010000000000000515BI0100001126 | 10 | Nos | 400 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 2000 | 2000 | [35 empty] | 4000 | 8000 | INR Eight Thousand Only | 8.02 | Brick work in C.M 1:5 mix using 2nd class ground moulded chamber burnt bricks with including cost | BI01010001010000000000000515BI0100001126 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
11 | Supply, installation, testing of GI/ Cu. earthing strips & wires in ground at a depth of 600 mm. or in readymade trenches or on ready tray with necessary clamps & bimetallic srips as per specification. (excavation required for this will be ensured separately.) Refer layout & tender spec for various applications. | BI01010001010000000000000515BI0100001124 | [52 empty] | 8 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001124 |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.01 | 75 x 10 mm. GI strip. | BI01010001010000000000000515BI0100001127 | 100 | Rmtr | 1150 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 90000 | 25000 | [35 empty] | 115000 | 230000 | INR Two Lakh Thirty Thousand Only | 8.03 | Construction of chamber for 100mm sluices valve | BI01010001010000000000000515BI0100001127 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.02 | 50 x 10 mm. Cu strip. | BI01010001010000000000000515BI0100001128 | 5 | Rmtr | 2250 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 10000 | 1250 | [35 empty] | 11250 | 22500 | INR Twenty Two Thousand Five Hundred Only | 9 | The Total value of Schedule1 | BI01010001010000000000000515BI0100001128 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
11.03 | 50 x 10 mm. GI strip. | BI01010001010000000000000515BI0100001121 | 50 | Rmtr | 900 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 35000 | 10000 | [35 empty] | 45000 | 90000 | INR Ninety Thousand Only | 5 | Supplying, Conveying and fixing spls. Including eart | BI01010001010000000000000515BI0100001121 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.04 | 50 x 6 mm. GI strip. (Transformer Body ,HT and LT panel Body Earthing ) | BI01010001010000000000000515BI0100001122 | 70 | Rmtr | 700 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 35000 | 14000 | [35 empty] | 49000 | 98000 | INR Ninety Eight Thousand Only | 6 | Construction of chamber for 100mm sluice plates | BI01010001010000000000000515BI0100001122 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Supply, installation, testing & commissioning of Transducer type Building lightning arrester "EARLY STREAMER" to cover protection radius of 42.0 mtr. & up to 20 mtr heights With 3 mtr rod height & with stem and fixing arrangement. (Indelec). Required installation/ mounting details shall be submitted prior to installation or SATELITE-3PRODUCT/ASH GEL (Saint-Elimo Lighting conductor with discharge counter & piezoelectric exciter device). Supply, installation, testing of 02 nos disconnecting link box for lightning down conductor at 1 mtr. from GL with SMC insulator and Gunmetal 50 x 6 mm disconnecting link. | BI01010001010000000000000515BI0100001129 | 1 | Nos | 303255 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 242604 | 60651 | [35 empty] | 303255 | 606510 | INR Six Lakh Six Thousand Five Hundred & Ten Only | 10 | The Total value of Schedule4 | BI01010001010000000000000515BI0100001129 | 1 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
13 | Supply, laying of following different types of GI pipes/pipes in trenches for road crossing for electrical, telephone cables etc. complete as required including excavation of trench in all types of strata except hard rock and refilling, leveling of trench, shifting of extra earth or debris to dump yard complete as required. | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13.01 | 100 mm dia. GI Pipe B-CLASS MAKE-TATA/JINDEL/QST. | BI01010001010000000000000515BI0100001118 | 18 | Mtr | 800 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 13500 | 900 | [35 empty] | 14400 | 28800 | INR Twenty Eight Thousand Eight Hundred Only | 2 | Construction of chamber for 100mm sluice plates | BI01010001010000000000000515BI0100001118 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14 | Supply, Installation, Testing and Commissioning of 1100V grade L.T. PVC insulated multistrand Al. conductor cables with necessary clamps, identification tag. & all other items required to complete the task. (Note:-Actual cable lengths shall be measured at site prior to procurement. ) | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
14.01 | 3.5C x 300 Sq.mm. AYFY Cable. ( From Transformer to LT Indoor Panel ) | BI01010001010000000000000515BI0100001119 | 50 | Rmtr | 1400 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 60000 | 10000 | [35 empty] | 70000 | 140000 | INR One Lakh Forty Thousand Only | 3 | Construction of chamber for 100mm sluices valve | BI01010001010000000000000515BI0100001119 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14.02 | 3.5C x300 Sq.mm. AYFYCable. ( From LT Outdoor Panel to Main LT panle inside DC) | BI01010001010000000000000515BI0100001120 | 330 | Rmtr | 1450 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 396000 | 82500 | [35 empty] | 478500 | 957000 | INR Nine Lakh Fifty Seven Thousand Only | 4 | Supplying, Conveying and fixing spls. Including ea | BI01010001010000000000000515BI0100001120 | 1 | Nos | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.03 | 5C x2.5 Sqmm YWY Cu Armoured ( RTCC Panel to OLTC ) | BI01010001010000000000000515BI0100001121 | 50 | Rmtr | 300 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 12500 | 2500 | [35 empty] | 15000 | 30000 | INR Thirty Thousand Only | 5 | Supplying, Conveying and fixing spls. Including eart | BI01010001010000000000000515BI0100001121 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14.04 | 3C 4Sqmm YWY Cu Armoured ( RTCC Panel to OLTC ) | BI01010001010000000000000515BI0100001122 | 50 | Rmtr | 250 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 10000 | 2500 | [35 empty] | 12500 | 25000 | INR Twenty Five Thousand Only | 6 | Construction of chamber for 100mm sluice plates | BI01010001010000000000000515BI0100001122 | 1 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
14.05 | 12C 2.5 Sqmm YWY Cu Armoured ( RTCC Panel to OLTC ) | BI01010001010000000000000515BI0100001123 | 50 | Rmtr | 550 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 20000 | 7500 | [35 empty] | 27500 | 55000 | INR Fifty Five Thousand Only | 7 | Construction of chamber for 100mm sluices valve | BI01010001010000000000000515BI0100001123 | 1 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Supply & installation of End termination for cables as above with Brass, heavy duty, Double compression glands, lugs, other consumable, crimping, gland hole drilling, ferrulling, marking, etc. | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
15.01 | 3.5C x 300 Sq.mm. AYFY Cable. | BI01010001010000000000000515BI0100001113 | 20 | Nos | 900 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 14000 | 4000 | [35 empty] | 18000 | 36000 | INR Thirty Six Thousand Only | 1.01 | Brick work in C.M 1:5 mix including all labour charges etc complete | BI01010001010000000000000515BI0100001113 | 1 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
16 | Supply, installation, testing & commissioning of ACDB | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Laying and Jointing PVC Pipe. Heading | BI01010001010000000000000515BI0100001112 |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
16.01 | 440V,AC Distribution board comprising 200 TPN as Incomer and 63Amp TPN-SFU as outgoing -4 no. Make-Schneider/SIEMENS /ABB/L&T | BI01010001010000000000000515BI0100001114 | 1 | Nos | 210000 |  |  | Excess(+) | 1 | Full Conversion | INR |  |  |  | 168000 | 42000 | [35 empty] | 210000 | 420000 | INR Four Lakh Twenty Thousand Only | 1.02 | Brick work in C.M 1:5 mix using 2nd class ground moulded chamber burnt bricks with including cost and conveyance of all materials and including all labour charges etc complete | BI01010001010000000000000515BI0100001114 | 25 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
Total in Figures | [51 empty] | 8386580 | 15081360 | INR One Crore Fifty Lakh Eighty One Thousand Three Hundred & Sixty Only |  |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information