## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: IWD, IIT(BHU), Varanasi
Name of Work: Street lighting work from Swantrata Bhawan Square to Vishwkarma Hostel Square of the , IIT(BHU), Varanasi
Contract No: IIT(BHU)/IWD/ET/26/2018-19/2050 dt. 13.10.2018
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Making of RCC foundation of dimesion size- 400 mm x 400 mm x 1200mm) with Gr M20 RCC and Fe 415 grade reinforcement for mounting of street line pole As per detail enclosed in Annexure-A |  | 30 | Nos | 5084 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 152520 | 152520 | INR One Lakh Fifty Two Thousand Five Hundred & Twenty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Supply and erection of 5m. Galvanised (as per BS EN ISO 1461) octogonal pole with base plate 200 x 200 x 12 mm, top 70 mm and bottom 130 mm made up of 3 mm thick sheet suitable for max. wind speed upto 160 km/hr. including foundation bolts and HDPE pipe for incoming and outgoung cables and Each pole shall be supplied with a junction/looping box complete with 10 amps, 10 kA DP MCB, DIN mounting Connectors suitable for 16/25 sq.mm terminations complete with DIN bar, shorting links, end locks GI base plate, GI anchor plate etc. as required and 3x1.5 sqmm FRLS PVC insulated and PVC sheathed multistrand copper conductor from junction box to the luminaire complete including terminations with copper lugs etc. as required. (Make-Philips/Valmount/Bajaj/G.E) |  | 30 | Nos | 9600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 288000 | 288000 | INR Two Lakh Eighty Eight Thousand Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Supply and fixing of following sizes of hot dipped galvanised bracket with FRP dome made out of 3.25 mm thick sheet suitable for octogonal pole including painting with superior quality of primer and synthetic enamel paint two or more coats etc. as required. | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | Single arm bracket of 1.0 Mtr long for mouning of street light with all accessries |  | 30 | Nos | 1600 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 48000 | 48000 | INR Forty Eight Thousand Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
4 | S/I/T/Commissioning of Street Light/Road LED light High performance IP 66 LED Street light fitting Capacity-94/110 W Make- Wipro cat no-LR02-122-XXX-57-XX and Philips Cat no-BRP410 LED 094 CW HE MR FG S2 PSU GR,Luminaire (minimum-7000 Lumens) with high power LED and ensure uniform light distrubution complete & supplying & drawing 3x1.5 sqmm FRLS PVC insl. copper cond. single core cable for making connections, testing etc. as required. |  | 30 | Nos | 8772 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 263160 | 263160 | INR Two Lakh Sixty Three Thousand One Hundred & Sixty Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
5 | Supplying &Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground(900 mm below FGL) including excavation, sand cushioning, protective covering and refilling the trench etc. as per CPWD norms..( Laying DSR 2016:7.1) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | 1.1KV grade 4 core × 10sqmm AYFY cable,Make: KEI/ Gloster/ Universal. |  | 300 | Mtr | 321 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 96300 | 96300 | INR Ninety Six Thousand Three Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Supplying and laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonry duct / ready cable trench as required( Laying DSR 2016:7.6) | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.01 | 1.1KV grade 4 core × 10 sqmm AYFY cable,Make: KEI/ Gloster/ Universal/ Industrial Cable |  | 500 | Mtr | 130 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 65000 | 65000 | INR Sixty Five Thousand Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required |  | 500 | Mtr | 23 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11500 | 11500 | INR Eleven Thousand Five Hundred Only | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8 | Earthing with G.I. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. |  | 3 | nos | 3672 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11016 | 11016 | INR Eleven Thousand &Sixteen Only | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 935496 | 935496 | INR Nine Lakh Thirty Five Thousand Four Hundred & Ninety Six Only | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information