## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.0 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: IWD, IIT(BHU), Varanasi
Name of Work: Bathroom renovation south side first floor, north side ground floor and middle side of mesh & hostel ground floor and store room beside water tank ( on the sky roof ) in Limbdi Hostel, IIT (BHU), Varanasi.
Contract No: IIT(BHU)/IWD/CT/72/2018-19/2053 dated 13.10.2018
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | [53 empty] | 1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | For thickness of tiles 10 mm to 25 mm (15.23.1) |  | 425 | Sqm | 31.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13408.75 | 13408.75 | INR Thirteen Thousand Four Hundred & Eight and Paise Seventy Five Only | 1.01 | All kinds of soil. (2.8.1) | 28 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) |  | 400 | Sqm | 22.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8960 | 8960 | INR Eight Thousand Nine Hundred & Sixty Only | 2.01 | Cement mortar 1:6 (1 cement : 6 coarse sand) (6.4.2) | 4 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) |  | 27 | Cum | 997.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 26920.35 | 26920.35 | INR Twenty Six Thousand Nine Hundred & Twenty and Paise Thirty Five Only | 3 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m.(2.25) | 55 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Demolishing mud phaska in terracing and disposal of material within 50 metres lead. (15.27) |  | 19 | Cum | 373.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7105.05 | 7105.05 | INR Seven Thousand One Hundred & Five and Paise Five Only | 4 | Extra for compaction of earth work in embankment under optimum moisture conditions to give at least 95% of the maximum dry density (proctor density). (16.2) | 28 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 5 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | In cement mortar (15.7.4) |  | 8 | Cum | 842.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6742 | 6742 | INR Six Thousand Seven Hundred & Forty Two Only | 5.01 | Hot finished welded type tubes (10.16.1) | 17 | Kg | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/ sqm).(22.3) |  | 36 | Sqm | 505.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18212.4 | 18212.4 | INR Eighteen Thousand Two Hundred & Twelve and Paise Forty Only | 6.01 | 1:6 (1 cement: 6 coarse sand) (13.4.2) | 190 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) |  | 251 | Sqm | 87.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21924.85 | 21924.85 | INR Twenty One Thousand Nine Hundred & Twenty Four and Paise Eighty Five Only | 7.01 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) (13.46.1) | 13 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : | [53 empty] | 8 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.01 | New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) |  | 476 | Sqm | 93.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44601.2 | 44601.2 | INR Forty Four Thousand Six Hundred & One and Paise Twenty Only | 8.01 | For thickness of tiles 10 mm to 25 mm (15.23.1) | 16 | sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 8 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.01 | One or more coats on old work (14.54.1) |  | 242 | Sqm | 51.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12414.6 | 12414.6 | INR Twelve Thousand Four Hundred & Fourteen and Paise Sixty Only | 9 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | 16 | sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 10 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.01 | (A) "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) |  | 2 | Cum | 5481.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10963.9 | 10963.9 | INR Ten Thousand Nine Hundred & Sixty Three and Paise Ninety Only | 10.01 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | 1 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.02 | (B) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) (4.1.8) |  | 2 | Cum | 4478.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8956.3 | 8956.3 | INR Eight Thousand Nine Hundred & Fifty Six and Paise Thirty Only | 10.01 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | 1 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 11 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
11.01 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 (17.35.1.2) |  | 65 | Mtr. | 921.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 59907.25 | 59907.25 | INR Fifty Nine Thousand Nine Hundred & Seven and Paise Twenty Five Only | 11.01 | In cement mortar (15.7.4) | 2 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Providing and fixing collar : | [53 empty] | 11 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
12.01 | Sand cast iron S&S as per IS - 3989 (17.57.1.2) |  | 11 | Nos. | 351.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3863.2 | 3863.2 | INR Three Thousand Eight Hundred & Sixty Three and Paise Twenty Only | 12 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/ sqm).(22.3) | 45 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 11 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13.01 | 100 mm (17.58.1) |  | 99 | Nos. | 309.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 30685.05 | 30685.05 | INR Thirty Thousand Six Hundred & Eighty Five and Paise Five Only | 13 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | 25 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete | [53 empty] | 14 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.01 | Sand cast iron S&S as per IS - 3989(17.38.1.2) |  | 23 | Nos. | 384.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8852.7 | 8852.7 | INR Eight Thousand Eight Hundred & Fifty Two and Paise Seventy Only | 14.01 | New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | 25 | sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Providing and fixing plain bend of required degree. | [53 empty] | 15 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15.01 | Sand cast iron S&S as per IS : 3989 (17.39.1.2) |  | 32 | Nos. | 334.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10718.4 | 10718.4 | INR Ten Thousand Seven Hundred & Eighteen and Paise Forty Only | 15.01 | Two or more coats on new work (13.61.1) | 18 | sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Providing and fixing double equal plain junction of required degree. | [53 empty] | 16 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16.01 | 100x100x100x100 mm | [53 empty] | 16 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16.02 | Sand cast iron S&S as per IS - 3989 (17.42.1.2) |  | 15 | Nos. | 747.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11209.5 | 11209.5 | INR Eleven Thousand Two Hundred & Nine and Paise Fifty Only | 16.01 | (A) "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | 31 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 16 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17.01 | 100x100x100 mm | [53 empty] | 16 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17.02 | Sand cast iron S&S as per IS - 3989 (17.43.1.2) |  | 15 | Nos. | 623 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9345 | 9345 | INR Nine Thousand Three Hundred & Forty Five Only | 16.01 | (A) "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | 31 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18 | Providing and fixing single equal plain junction of required degree : | [53 empty] | 16 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.01 | 100x100x100 mm | [53 empty] | 16 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.02 | Sand cast iron S&S as per IS - 3989 (17.44.1.2) |  | 24 | Nos. | 575.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13809.6 | 13809.6 | INR Thirteen Thousand Eight Hundred & Nine and Paise Sixty Only | 16.01 | (A) "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | 31 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 16 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19.01 | 100 mm inlet and 100 mm outlet | [53 empty] | 16 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19.02 | Sand cast iron S&S as per IS: 3989 (17.60.1.1) |  | 24 | Nos. | 1034.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24826.8 | 24826.8 | INR Twenty Four Thousand Eight Hundred & Twenty Six and Paise Eighty Only | 16.01 | (A) "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | 31 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20 | Providing and fixing 100 mm sand cast Iron grating for gully trap. (17.29) |  | 32 | Nos. | 29.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 936 | 936 | INR Nine Hundred & Thirty Six Only | 20.01 | Sand cast iron S&S as per IS - 3989(17.38.1.2) | 3 | Each | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | roviding and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : | [53 empty] | 21 | Providing and fixing plain bend of required degree. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
21.01 | 100 mm (17.59.1) |  | 40 | Nos. | 62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2480 | 2480 | INR Two Thousand Four Hundred & Eighty Only | 21.01 | Sand cast iron S&S as per IS : 3989 (17.39.1.2) | 3 | Each | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | [53 empty] | 22 | Providing and fixing double equal plain junction of required degree. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
22.01 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests (17.1.1) |  | 10 | Nos. | 3494.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 34942 | 34942 | INR Thirty Four Thousand Nine Hundred & Forty Two Only | 22.02 | Sand cast iron S&S as per IS - 3989 (17.42.1.2) | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | [53 empty] | 23 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
23.01 | W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) |  | 3 | Nos | 3418.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10256.1 | 10256.1 | INR Ten Thousand Two Hundred & Fifty Six and Paise Ten Only | 23.02 | Sand cast iron S&S as per IS - 3989 (17.43.1.2) | 4 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | [53 empty] | 24 | Providing and fixing single equal plain junction of required degree : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
24.01 | White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) |  | 6 | Nos | 2020.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 12123.6 | 12123.6 | INR Twelve Thousand One Hundred & Twenty Three and Paise Sixty Only | 24.02 | Sand cast iron S&S as per IS - 3989 (17.44.1.2) | 3 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | [53 empty] | 25 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
25.01 | Semi rigid pipe | [53 empty] | 25.01 | 100 mm inlet and 100 mm outlet |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
25.02 | 32 mm dia (17.28.1.1) |  | 12 | Nos | 75.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 907.2 | 907.2 | INR Nine Hundred & Seven and Paise Twenty Only | 25.02 | Sand cast iron S&S as per IS: 3989 (17.60.1.1) | 3 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | [53 empty] | 25.01 | 100 mm inlet and 100 mm outlet |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
26.01 | Rectangular shape 453x357 mm (17.32.2) |  | 6 | Nos | 752.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4516.8 | 4516.8 | INR Four Thousand Five Hundred & Sixteen and Paise Eighty Only | 26 | Providing and fixing 100 mm sand cast Iron grating for gully trap. (17.29) | 4 | Each | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : | [53 empty] | 27 | roviding and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
27.01 | (A) Single half stall urinal with 5 litre P.V.C. automatic flushing cistern (17.5.1) |  | 4 | Nos | 6187.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24749.6 | 24749.6 | INR Twenty Four Thousand Seven Hundred & Forty Nine and Paise Sixty Only | 27.01 | 100 mm (17.59.1) | 5 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
27.02 | (B) Range of two half stall urinals with 5 litre P.V.C. automatic flushing cistern (17.5.2) |  | 3 | Nos | 9317.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27952.8 | 27952.8 | INR Twenty Seven Thousand Nine Hundred & Fifty Two and Paise Eighty Only | 27.01 | 100 mm (17.59.1) | 5 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | [53 empty] | 28 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
28.01 | For pipes 100 to 250 mm diameter (19.21.1) |  | 3 | Nos | 391.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1173.45 | 1173.45 | INR One Thousand One Hundred & Seventy Three and Paise Forty Five Only | 28.01 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests (17.1.1) | 2 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
29 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 29 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
29.01 | Cement mortar 1:4 (1 cement :4 coarse sand) (6.13.2) |  | 11 | Sqm | 684.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7527.3 | 7527.3 | INR Seven Thousand Five Hundred & Twenty Seven and Paise Thirty Only | 29.01 | W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | 2 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. | [53 empty] | 30 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
30.01 | Internal work - Exposed on wall | [53 empty] | 1 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
30.02 | (A) 15 mm dia nominal bore (18.10.1) |  | 171 | Mtrs | 186.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 31874.4 | 31874.4 | INR Thirty One Thousand Eight Hundred & Seventy Four and Paise Forty Only | 3 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m.(2.25) | 55 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
30.03 | (B)25 mm dia nominal bore (18.10.3) |  | 45 | Mtrs | 247.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11153.25 | 11153.25 | INR Eleven Thousand One Hundred & Fifty Three and Paise Twenty Five Only | 30.01 | White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | 4 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
31 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | [53 empty] | 31 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
31.01 | 15 mm nominal bore (18.49.1) |  | 28 | Nos | 371.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10407.6 | 10407.6 | INR Ten Thousand Four Hundred & Seven and Paise Sixty Only | 31.02 | 32 mm dia (17.28.1.1) | 4 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | [53 empty] | 32 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
32.01 | 15 mm nominal bore (18.52.1) |  | 45 | Nos | 545.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24567.75 | 24567.75 | INR Twenty Four Thousand Five Hundred & Sixty Seven and Paise Seventy Five Only | 32.01 | Rectangular shape 453x357 mm (17.32.2) | 4 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
33 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms (18.64) |  | 12 | Nos | 100.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1208.4 | 1208.4 | INR One Thousand Two Hundred & Eight and Paise Forty Only | 33.01 | Single half stall urinal with 5 litre P.V.C. automatic flushing cistern (17.5.1) | 1 | Each | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | [53 empty] | 34 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
34.01 | 25 to 40 mm nominal bore (18.13.1) |  | 8 | Nos | 394.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3153.2 | 3153.2 | INR Three Thousand One Hundred & Fifty Three and Paise Twenty Only | 34.01 | For pipes 100 to 250 mm diameter (19.21.1) | 1 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : | [53 empty] | 35 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
35.01 | 25 mm diameter pipe (18.38.3) |  | 23 | Mtrs | 15.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 356.5 | 356.5 | INR Three Hundred & Fifty Six and Paise Fifty Only | 35.01 | Cement mortar 1:4 (1 cement :4 coarse sand) (6.13.2) | 120 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. | [53 empty] | 36 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
36.01 | Granite Stone of approved shade (8.10.2) |  | 9 | Sqm | 2831.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 25487.55 | 25487.55 | INR Twenty Five Thousand Four Hundred & Eighty Seven and Paise Fifty Five Only | 36.03 | (B)25 mm dia nominal bore (18.10.3) | 6 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
37 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (11.36) |  | 455 | Sqm | 744.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 338884 | 338884 | INR Three Lakh Thirty Eight Thousand Eight Hundred & Eighty Four Only | 37.01 | 15 mm nominal bore (18.49.1) | 3 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) |  | 130 | Sqm | 688.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 89485.5 | 89485.5 | INR Eighty Nine Thousand Four Hundred & Eighty Five and Paise Fifty Only | 38.01 | 15 mm nominal bore (18.52.1) | 2 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | [53 empty] | 36 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
39.01 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) |  | 973 | Kg | 85.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 83629.35 | 83629.35 | INR Eighty Three Thousand Six Hundred & Twenty Nine and Paise Thirty Five Only | 39 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms (18.64) | 1 | Each | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
40 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. | [53 empty] | 40 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
40.01 | 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) |  | 63 | Sqm | 2372.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 149486.4 | 149486.4 | INR One Lakh Forty Nine Thousand Four Hundred & Eighty Six and Paise Forty Only | 40.01 | 25 to 40 mm nominal bore (18.13.1) | 1 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 41 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
41.01 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) |  | 125 | Sqm | 112.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 14037.5 | 14037.5 | INR Fourteen Thousand &Thirty Seven and Paise Fifty Only | 41.01 | 25 mm diameter pipe (18.38.3) | 6 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
42 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : | [53 empty] | 42 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
42.01 | For fixed portion | [53 empty] | 41 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
42.02 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) |  | 53 | Kg | 355.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18825.6 | 18825.6 | INR Eighteen Thousand Eight Hundred & Twenty Five and Paise Sixty Only | 42.01 | Granite Stone of approved shade (8.10.2) | 1 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
43 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 41 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
43.01 | 125 mm (9.100.1) |  | 77 | Nos | 51.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3934.7 | 3934.7 | INR Three Thousand Nine Hundred & Thirty Four and Paise Seventy Only | 43 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (11.36) | 100 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 41 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
44.01 | 250x10 mm (9.97.2) |  | 33 | Nos | 88.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2907.3 | 2907.3 | INR Two Thousand Nine Hundred & Seven and Paise Thirty Only | 44 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) | 101 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
45 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | [53 empty] | 45 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
45.01 | 250x16 mm (9.96.2) |  | 33 | Nos | 189.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6243.6 | 6243.6 | INR Six Thousand Two Hundred & Forty Three and Paise Sixty Only | 45.01 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | 300 | Kg | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : | [53 empty] | 46 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
46.01 | Two or more coats on new work (13.61.1) |  | 256 | Sqm | 78.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 20070.4 | 20070.4 | INR Twenty Thousand &Seventy and Paise Forty Only | 46.01 | 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | 3 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
47 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (10.2) |  | 234 | Kg | 67.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 15818.4 | 15818.4 | INR Fifteen Thousand Eight Hundred & Eighteen and Paise Forty Only | 47.01 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | 23 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 48 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
48.01 | 300x10 mm (9.97.1) |  | 2 | Nos | 99.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 199.4 | 199.4 | INR One Hundred & Ninety Nine and Paise Forty Only | 48.02 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | 1 | Kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
49 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | [53 empty] | 49 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
49.01 | 300x16 mm (9.96.1) |  | 2 | Nos | 212.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 424.9 | 424.9 | INR Four Hundred & Twenty Four and Paise Ninety Only | 49.01 | 125 mm (9.100.1) | 4 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
50 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : | [53 empty] | 50 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
50.01 | Cement mortar 1:6 (1 cement : 6 coarse sand) ( 6.4.2 ) |  | 10 | Cum | 5582.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 55828.5 | 55828.5 | INR Fifty Five Thousand Eight Hundred & Twenty Eight and Paise Fifty Only | 50.01 | 250x10 mm (9.97.2) | 2 | Each | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
51 | Centering and shuttering including strutting, propping etc. and removal of form for : | [53 empty] | 51 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
51.01 | Lintels, beams, plinth beams, girders, bressumers and cantilevers (5.9.5) |  | 4 | Sqm | 342.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1371.6 | 1371.6 | INR One Thousand Three Hundred & Seventy One and Paise Sixty Only | 51.01 | 250x16 mm (9.96.2) | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | [53 empty] | 51 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
52.01 | Thermo-Mechanically Treated bars (5.22.6) |  | 144 | Kg | 56.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8150.4 | 8150.4 | INR Eight Thousand One Hundred & Fifty and Paise Forty Only | 52 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of size 50 mm x 1.6 mm complete, all as per direction of Engineerin charge. | 139 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
53 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). (5.3) |  | 1 | Cum | 7390.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7390.8 | 7390.8 | INR Seven Thousand Three Hundred & Ninety and Paise Eighty Only | 53.01 | With G.I. barbed wire (16.18.1) | 600 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
54 | 12 mm cement plaster of mix : | [53 empty] | 48 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
54.01 | 1:4 (1 cement: 4 coarse sand) (13.4.1) |  | 197 | Sqm | 180.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 35627.45 | 35627.45 | INR Thirty Five Thousand Six Hundred & Twenty Seven and Paise Forty Five Only | 48.02 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | 1 | Kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
54.02 | 15 mm cement plaster on rough side of single or half brick wall of mix : | [53 empty] | 49 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
54.03 | 1:6 (1 cement: 6 coarse sand) (13.5.2) |  | 59 | Sqm | 194.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11481.4 | 11481.4 | INR Eleven Thousand Four Hundred & Eighty One and Paise Forty Only | 49.01 | 125 mm (9.100.1) | 4 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
55 | White washing with lime to give an even shade : | [53 empty] | 50 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
55.01 | New work (three or more coats) ( 13.37.1 ) |  | 197 | Sqm | 17.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3398.25 | 3398.25 | INR Three Thousand Three Hundred & Ninety Eight and Paise Twenty Five Only | 50.01 | 250x10 mm (9.97.2) | 2 | Each | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
56 | Finishing walls with Acrylic Smooth exterior paint of required shade : | [53 empty] | 51 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
56.01 | New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) ( 13.46.1 ) |  | 59 | Sqm | 96.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5666.95 | 5666.95 | INR Five Thousand Six Hundred & Sixty Six and Paise Ninety Five Only | 51.01 | 250x16 mm (9.96.2) | 2 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
57 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. (10.2 ) |  | 319 | Kg | 67.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 21564.4 | 21564.4 | INR Twenty One Thousand Five Hundred & Sixty Four and Paise Forty Only | 52 | Providing and fixing factory made precast RCC perforated drain covers, having concrete of strength not less than M-25, of size 1000 x 450x50 mm, reinforced with 8 mm dia four nos longitudinal & 9 nos cross sectional T.M.T. hoop bars, including providing 50 mm dia perforations @ 100 to 125 mm c/c, including providing edge binding with M.S. flats of size 50 mm x 1.6 mm complete, all as per direction of Engineerin charge. | 139 | Each | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
58 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. | [53 empty] | 49 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
58.01 | Pre-laminated particle board with decorative lamination on both sides ( 21.2.2 ) |  | 2 | Sqm | 866.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1733.2 | 1733.2 | INR One Thousand Seven Hundred & Thirty Three and Paise Twenty Only | 49.01 | 125 mm (9.100.1) | 4 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
59 | Renewing glass panes and refixing existing wooden fillets: | [53 empty] | 50 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
59.01 | Float glass panes of thickness 4 mm ( (14.7.1 ) |  | 4 | Sqm | 688.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2754.6 | 2754.6 | INR Two Thousand Seven Hundred & Fifty Four and Paise Sixty Only | 50.01 | 250x10 mm (9.97.2) | 2 | Each | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
60 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling / self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. (12.50 ) |  | 90 | Sqm | 550.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 49536 | 49536 | INR Forty Nine Thousand Five Hundred & Thirty Six Only | 49.01 | 125 mm (9.100.1) | 4 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
61 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. (21.13) |  | 1 | Nos | 359 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 359 | 359 | INR Three Hundred & Fifty Nine Only | 49.01 | 125 mm (9.100.1) | 4 | Each | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
62 | Carriage of malba (approved rate) |  | 35 | trip | 339 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 11865 | 11865 | INR Eleven Thousand Eight Hundred & Sixty Five Only |  |  |  | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 1549875 | 11865 | INR Eleven Thousand Eight Hundred & Sixty Five Only |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K134: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K119: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K120: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K121: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K122: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K123: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K124: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K125: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K126: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K127: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K128: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K129: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K130: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K131: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K132: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K133: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information