## BoQ1 (hidden)
Percentage BoQ
BoQ_Ver3.1 | Percentage | Normal | INR Only | INR
Select, At Par, Excess (+), Less (-) |  | IOCL
Tender Inviting Authority: IWD, IIT(BHU), Varanasi
Name of Work: Bathroom renovation (4 no.) and barbed wire fencing in Vivekanand Hostel , IIT (BHU), Varanasi.
Contract No: IIT(BHU)/IWD/C/55/2018-19/1961
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT With Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 7 | 54 | 8
1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. | [53 empty] | 1 | Dismantling tile work in floors and roofs laid in cement mortar including stacking material within 50 metres lead. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | For thickness of tiles 10 mm to 25 mm (15.23.1) |  | 217 | Sqm | 31.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6846.35 | 6846.35 | INR Six Thousand Eight Hundred & Forty Six and Paise Thirty Five Only | 1.01 | For thickness of tiles 10 mm to 25 mm (15.23.1) | 217 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) |  | 214 | Sqm | 22.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4793.6 | 4793.6 | INR Four Thousand Seven Hundred & Ninety Three and Paise Sixty Only | 2 | Dismantling old plaster or skirting raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. (15.56) | 214 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. | [53 empty] | 3 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
3.01 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) |  | 23 | Cum | 997.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22932.15 | 22932.15 | INR Twenty Two Thousand Nine Hundred & Thirty Two and Paise Fifteen Only | 3.01 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) (15.2.1) | 23 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Demolishing mud phaska in terracing and disposal of material within 50 metres lead. (15.27) |  | 2 | Cum | 373.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 747.9 | 747.9 | INR Seven Hundred & Forty Seven and Paise Ninety Only | 4 | Demolishing mud phaska in terracing and disposal of material within 50 metres lead. (15.27) | 2 | Cum | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. | [53 empty] | 5 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.01 | In cement mortar (15.7.4) |  | 1 | Cum | 842.75 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 842.75 | 842.75 | INR Eight Hundred & Forty Two and Paise Seventy Five Only | 5.01 | In cement mortar (15.7.4) | 1 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/ sqm).(22.3) |  | 20 | Sqm | 505.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10118 | 10118 | INR Ten Thousand One Hundred & Eighteen Only | 6 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of: (i) Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions including rounding off junction of vertical and horizontal surface. (ii) IInd course of 20 mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion including rounding off junction of vertical and horizontal surface. (iii) IIIrd course of applying blown or residual bitumen applied hot at 1.7 kg. per sqm of area. (iv) IVth course of 400 micron thick PVC sheet. (Overlaps at joints of PVC sheet should be 100 mm wide and pasted to each other with bitumen @ 1.7 kg/ sqm).(22.3) | 20 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | 12 mm cement plaster of mix : | [53 empty] | 7 | 12 mm cement plaster of mix : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.01 | 1:4 (1 cement: 4 coarse sand) (13.4.1) |  | 110 | Sqm | 180.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 19893.5 | 19893.5 | INR Nineteen Thousand Eight Hundred & Ninety Three and Paise Fifty Only | 7.01 | 1:4 (1 cement: 4 coarse sand) (13.4.1) | 110 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) |  | 110 | Sqm | 87.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9608.5 | 9608.5 | INR Nine Thousand Six Hundred & Eight and Paise Fifty Only | 8 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. (13.80) | 110 | Sqm | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
9 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : | [53 empty] | 9 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.01 | New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) |  | 110 | Sqm | 93.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 10307 | 10307 | INR Ten Thousand Three Hundred & Seven Only | 9.01 | New work (two or more coats) over and including water tinnable priming coat with cement primer (13.41.1) | 110 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 10 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.01 | One or more coats on old work (14.54.1) |  | 54 | Sqm | 51.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2770.2 | 2770.2 | INR Two Thousand Seven Hundred & Seventy and Paise Twenty Only | 10.01 | One or more coats on old work (14.54.1) | 54 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : | [53 empty] | 11 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
11.01 | (A) "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) |  | 5 | Cum | 5481.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 27409.75 | 27409.75 | INR Twenty Seven Thousand Four Hundred & Nine and Paise Seventy Five Only | 11.01 | (A) "1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). (4.1.3) | 5 | Cum | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.02 | (B) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) (4.1.8) |  | 1 | Cum | 4478.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4478.15 | 4478.15 | INR Four Thousand Four Hundred & Seventy Eight and Paise Fifteen Only | 11.02 | (B) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) (4.1.8) | 1 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Providing and fixing soil, waste and vent pipes : | [53 empty] | 12 | Providing and fixing soil, waste and vent pipes : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
12.01 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 (17.35.1.2) |  | 24 | Mtr. | 921.65 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 22119.6 | 22119.6 | INR Twenty Two Thousand One Hundred & Nineteen and Paise Sixty Only | 12.01 | Centrifugally cast (spun) iron socket & spigot (S&S) pipe as per IS: 3989 (17.35.1.2) | 24 | Mtr. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Providing and fixing collar : | [53 empty] | 13 | Providing and fixing collar : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
13.01 | Sand cast iron S&S as per IS - 3989 (17.57.1.2) |  | 8 | Nos. | 351.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2809.6 | 2809.6 | INR Two Thousand Eight Hundred & Nine and Paise Sixty Only | 13.01 | Sand cast iron S&S as per IS - 3989 (17.57.1.2) | 8 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : | [53 empty] | 14 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
14.01 | 100 mm (17.58.1) |  | 30 | Nos. | 309.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 9298.5 | 9298.5 | INR Nine Thousand Two Hundred & Ninety Eight and Paise Fifty Only | 14.01 | 100 mm (17.58.1) | 30 | Nos. | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete | [53 empty] | 15 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
15.01 | Sand cast iron S&S as per IS - 3989(17.38.1.2) |  | 12 | Nos. | 384.9 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4618.8 | 4618.8 | INR Four Thousand Six Hundred & Eighteen and Paise Eighty Only | 15.01 | Sand cast iron S&S as per IS - 3989(17.38.1.2) | 12 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Providing and fixing plain bend of required degree. | [53 empty] | 16 | Providing and fixing plain bend of required degree. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
16.01 | Sand cast iron S&S as per IS : 3989 (17.39.1.2) |  | 12 | Nos. | 334.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4019.4 | 4019.4 | INR Four Thousand &Nineteen and Paise Forty Only | 16.01 | Sand cast iron S&S as per IS : 3989 (17.39.1.2) | 12 | Nos. | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | Providing and fixing double equal plain junction of required degree. | [53 empty] | 17 | Providing and fixing double equal plain junction of required degree. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17.01 | 100x100x100x100 mm | [53 empty] | 17.01 | 100x100x100x100 mm |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17.02 | Sand cast iron S&S as per IS - 3989 (17.42.1.2) |  | 8 | Nos. | 747.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5978.4 | 5978.4 | INR Five Thousand Nine Hundred & Seventy Eight and Paise Forty Only | 17.02 | Sand cast iron S&S as per IS - 3989 (17.42.1.2) | 8 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
18 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. | [53 empty] | 18 | Providing and fixing single equal plain junction of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.01 | 100x100x100 mm | [53 empty] | 18.01 | 100x100x100 mm |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
18.02 | Sand cast iron S&S as per IS - 3989 (17.43.1.2) |  | 8 | Nos. | 623 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4984 | 4984 | INR Four Thousand Nine Hundred & Eighty Four Only | 18.02 | Sand cast iron S&S as per IS - 3989 (17.43.1.2) | 8 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
19 | Providing and fixing single equal plain junction of required degree : | [53 empty] | 19 | Providing and fixing single equal plain junction of required degree : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19.01 | 100x100x100 mm | [53 empty] | 19.01 | 100x100x100 mm |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
19.02 | Sand cast iron S&S as per IS - 3989 (17.44.1.2) |  | 8 | Nos. | 575.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4603.2 | 4603.2 | INR Four Thousand Six Hundred & Three and Paise Twenty Only | 19.02 | Sand cast iron S&S as per IS - 3989 (17.44.1.2) | 8 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
20 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : | [53 empty] | 20 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20.01 | 100 mm inlet and 100 mm outlet | [53 empty] | 20.01 | 100 mm inlet and 100 mm outlet |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
20.02 | Sand cast iron S&S as per IS: 3989 (17.60.1.1) |  | 8 | Nos. | 1034.45 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8275.6 | 8275.6 | INR Eight Thousand Two Hundred & Seventy Five and Paise Sixty Only | 20.02 | Sand cast iron S&S as per IS: 3989 (17.60.1.1) | 8 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
21 | Providing and fixing 100 mm sand cast Iron grating for gully trap. (17.29) |  | 8 | Nos. | 29.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 234 | 234 | INR Two Hundred & Thirty Four Only | 21 | Providing and fixing 100 mm sand cast Iron grating for gully trap. (17.29) | 8 | Nos. | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
22 | roviding and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : | [53 empty] | 22 | roviding and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
22.01 | 100 mm (17.59.1) |  | 30 | Nos. | 62 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1860 | 1860 | INR One Thousand Eight Hundred & Sixty Only | 22.01 | 100 mm (17.59.1) | 30 | Nos. | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: | [53 empty] | 23 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
23.01 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests (17.1.1) |  | 4 | Nos. | 3494.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 13976.8 | 13976.8 | INR Thirteen Thousand Nine Hundred & Seventy Six and Paise Eighty Only | 23.01 | White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests (17.1.1) | 4 | Nos. | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
24 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : | [53 empty] | 24 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
24.01 | W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) |  | 2 | Nos | 3418.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6837.4 | 6837.4 | INR Six Thousand Eight Hundred & Thirty Seven and Paise Forty Only | 24.01 | W.C. pan with ISI marked white solid plastic seat and lid (17.2.1) | 2 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
25 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: | [53 empty] | 25 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
25.01 | White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) |  | 4 | Nos | 2020.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8082.4 | 8082.4 | INR Eight Thousand &Eighty Two and Paise Forty Only | 25.01 | White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar tap (17.7.2) | 4 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
26 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. | [53 empty] | 26 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
26.01 | Semi rigid pipe | [53 empty] | 26.01 | Semi rigid pipe |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
26.02 | 32 mm dia (17.28.1.1) |  | 6 | Nos | 75.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 453.6 | 453.6 | INR Four Hundred & Fifty Three and Paise Sixty Only | 26.02 | 32 mm dia (17.28.1.1) | 6 | Nos | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
27 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : | [53 empty] | 27 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
27.01 | Rectangular shape 453x357 mm (17.32.2) |  | 4 | Nos | 752.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3011.2 | 3011.2 | INR Three Thousand &Eleven and Paise Twenty Only | 27.01 | Rectangular shape 453x357 mm (17.32.2) | 4 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
28 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : | [53 empty] | 28 | Providing and fixing white vitreous china flat back half stall urinal of size 580x380x350 mm with white PVC automatic flushing cistern, with fittings, standard size C.P. brass flush pipe, spreaders with unions and clamps (all in C.P. brass) with waste fitting as per IS : 2556, C.I. trap with outlet grating and other couplings in C.P. brass, including painting of fittings and cutting and making good the walls and floors wherever required : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
28.01 | (A) Single half stall urinal with 5 litre P.V.C. automatic flushing cistern (17.5.1) |  | 4 | Nos | 6187.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 24749.6 | 24749.6 | INR Twenty Four Thousand Seven Hundred & Forty Nine and Paise Sixty Only | 28.01 | (A) Single half stall urinal with 5 litre P.V.C. automatic flushing cistern (17.5.1) | 4 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28.02 | (B) Range of two half stall urinals with 5 litre P.V.C. automatic flushing cistern (17.5.2) |  | 4 | Nos | 9317.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 37270.4 | 37270.4 | INR Thirty Seven Thousand Two Hundred & Seventy and Paise Forty Only | 28.02 | (B) Range of two half stall urinals with 5 litre P.V.C. automatic flushing cistern (17.5.2) | 4 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
29 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : | [53 empty] | 29 | Making connection of drain or sewer line with existing manhole including breaking into and making good the walls, floors with cement concrete 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) cement plastered on both sides with cement mortar 1:3 (1 cement : 3 coarse sand), finished with a floating coat of neat cement and making necessary channels for the drain etc. complete : |  |  | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
29.01 | For pipes 100 to 250 mm diameter (19.21.1) |  | 2 | Nos | 391.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 782.3 | 782.3 | INR Seven Hundred & Eighty Two and Paise Thirty Only | 29.01 | For pipes 100 to 250 mm diameter (19.21.1) | 2 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
30 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). (5.3) |  | 1 | Cum | 7390.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7390.8 | 7390.8 | INR Seven Thousand Three Hundred & Ninety and Paise Eighty Only | 30 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). (5.3) | 1 | Cum | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
31 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : | [53 empty] | 31 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
31.01 | Suspended floors, roofs, landings, balconies and access platform (5.9.3) |  | 3 | Sqm | 422.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1266.9 | 1266.9 | INR One Thousand Two Hundred & Sixty Six and Paise Ninety Only | 31.01 | Suspended floors, roofs, landings, balconies and access platform (5.9.3) | 3 | Sqm | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. | [53 empty] | 32 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
32.01 | Thermo-Mechanically Treated bars of grade Fe-500D or more. (5.22.6) |  | 10 | Kg | 56.6 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 566 | 566 | INR Five Hundred & Sixty Six Only | 32.01 | Thermo-Mechanically Treated bars of grade Fe-500D or more. (5.22.6) | 10 | Kg | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
33 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. | [53 empty] | 33 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
33.01 | Cement mortar 1:4 (1 cement :4 coarse sand) (6.13.2) |  | 3 | Sqm | 684.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2052.9 | 2052.9 | INR Two Thousand &Fifty Two and Paise Ninety Only | 33.01 | Cement mortar 1:4 (1 cement :4 coarse sand) (6.13.2) | 3 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
34 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. | [53 empty] | 34 | Providing and fixing G.I. pipes complete with G.I. fittings and clamps, i/c cutting and making good the walls etc. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
34.01 | Internal work - Exposed on wall | [53 empty] | 34.01 | Internal work - Exposed on wall |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
34.02 | (A) 15 mm dia nominal bore (18.10.1) |  | 125 | Mtrs | 186.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 23300 | 23300 | INR Twenty Three Thousand Three Hundred Only | 34.02 | (A) 15 mm dia nominal bore (18.10.1) | 125 | Mtrs | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
34.03 | (B)25 mm dia nominal bore (18.10.3) |  | 30 | Mtrs | 247.85 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7435.5 | 7435.5 | INR Seven Thousand Four Hundred & Thirty Five and Paise Fifty Only | 34.03 | (B)25 mm dia nominal bore (18.10.3) | 30 | Mtrs | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : | [53 empty] | 35 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
35.01 | 15 mm nominal bore (18.49.1) |  | 12 | Nos | 371.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 4460.4 | 4460.4 | INR Four Thousand Four Hundred & Sixty and Paise Forty Only | 35.01 | 15 mm nominal bore (18.49.1) | 12 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. | [53 empty] | 36 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
36.01 | 15 mm nominal bore (18.52.1) |  | 12 | Nos | 545.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 6551.4 | 6551.4 | INR Six Thousand Five Hundred & Fifty One and Paise Forty Only | 36.01 | 15 mm nominal bore (18.52.1) | 12 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
37 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms (18.64) |  | 4 | Nos | 100.7 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 402.8 | 402.8 | INR Four Hundred & Two and Paise Eighty Only | 37 | Providing and fixing PTMT swivelling shower, 15 mm nominal bore, weighing not less than 40 gms (18.64) | 4 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : | [53 empty] | 38 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
38.01 | 25 to 40 mm nominal bore (18.13.1) |  | 2 | Nos | 394.15 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 788.3 | 788.3 | INR Seven Hundred & Eighty Eight and Paise Thirty Only | 38.01 | 25 to 40 mm nominal bore (18.13.1) | 2 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
39 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : | [53 empty] | 39 | Painting G.I. pipes and fittings with synthetic enamel white paint with two coats over a ready mixed priming coat, both of approved quality for new work : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
39.01 | 25 mm diameter pipe (18.38.3) |  | 15 | Mtrs | 15.5 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 232.5 | 232.5 | INR Two Hundred & Thirty Two and Paise Fifty Only | 39.01 | 25 mm diameter pipe (18.38.3) | 15 | Mtrs | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
40 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. | [53 empty] | 40 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
40.01 | Granite Stone of approved shade (8.10.2) |  | 3 | Sqm | 2831.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 8495.85 | 8495.85 | INR Eight Thousand Four Hundred & Ninety Five and Paise Eighty Five Only | 40.01 | Granite Stone of approved shade (8.10.2) | 3 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
41 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (11.36) |  | 226 | Sqm | 744.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 168324.8 | 168324.8 | INR One Lakh Sixty Eight Thousand Three Hundred & Twenty Four and Paise Eighty Only | 41 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. (11.36) | 226 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
42 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) |  | 64 | Sqm | 688.35 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 44054.4 | 44054.4 | INR Forty Four Thousand &Fifty Four and Paise Forty Only | 42 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. (11.37) | 64 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
43 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. | [53 empty] | 43 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
43.01 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) |  | 210 | Kg | 85.95 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 18049.5 | 18049.5 | INR Eighteen Thousand &Forty Nine and Paise Fifty Only | 43.01 | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works (10.25.2) | 210 | Kg | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. | [53 empty] | 44 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) decorative type, core of block board construction with frame of 1st class hard wood and well matched teak 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
44.01 | 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) |  | 20 | Sqm | 2372.8 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 47456 | 47456 | INR Forty Seven Thousand Four Hundred & Fifty Six Only | 44.01 | 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws (9.20.2) | 20 | Sqm | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
45 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 45 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
45.01 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) |  | 48 | Sqm | 112.3 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 5390.4 | 5390.4 | INR Five Thousand Three Hundred & Ninety and Paise Forty Only | 45.01 | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture (13.62.1) | 48 | Sqm | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
46 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : | [53 empty] | 46 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
46.01 | For fixed portion | [53 empty] | 46.01 | For fixed portion |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
46.02 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) |  | 21 | Kg | 355.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 7459.2 | 7459.2 | INR Seven Thousand Four Hundred & Fifty Nine and Paise Twenty Only | 46.02 | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) (21.1.1.1) | 21 | Kg | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
47 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 47 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
47.01 | 125 mm (9.100.1) |  | 24 | Nos | 51.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1226.4 | 1226.4 | INR One Thousand Two Hundred & Twenty Six and Paise Forty Only | 47.01 | 125 mm (9.100.1) | 24 | Nos | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
48 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : | [53 empty] | 48 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
48.01 | 250x10 mm (9.97.2) |  | 12 | Nos | 88.1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 1057.2 | 1057.2 | INR One Thousand &Fifty Seven and Paise Twenty Only | 48.01 | 250x10 mm (9.97.2) | 12 | Nos | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
49 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : | [53 empty] | 49 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
49.01 | 250x16 mm (9.96.2) |  | 12 | Nos | 189.2 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2270.4 | 2270.4 | INR Two Thousand Two Hundred & Seventy and Paise Forty Only | 49.01 | 250x16 mm (9.96.2) | 12 | Nos | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
50 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m | [53 empty] | 50 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
50.01 | All kinds of soil. (2.8.1) |  | 5 | Cum | 166.4 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 832 | 832 | INR Eight Hundred & Thirty Two Only | 50.01 | All kinds of soil. (2.8.1) | 5 | Cum | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
51 | Supply of site RCC Standads post/struts/rails/ pales of mix 1:1.5:3 (1 cement: 1.5 coarse sand : 3 graded stone aggregate 12.5mm nominal size) with wooden plugs or 6mm bar nibs wherever required as per direction of Engineer-in-charge including fixing (cost of earth works in excavation, concrete works in foundation to be paid separately). (16.15.1) |  | 2.84 | Cum | 19774.55 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 56159.72 | 56159.72 | INR Fifty Six Thousand One Hundred & Fifty Nine and Paise Seventy Two Only | 51 | Supply of site RCC Standads post/struts/rails/ pales of mix 1:1.5:3 (1 cement: 1.5 coarse sand : 3 graded stone aggregate 12.5mm nominal size) with wooden plugs or 6mm bar nibs wherever required as per direction of Engineer-in-charge including fixing (cost of earth works in excavation, concrete works in foundation to be paid separately). (16.15.1) | 2.84 | Cum | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
52 | Fencing with R.C.C. post placed at required distance, embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post one side only, provided with horizontal lines and two diagonals of barbed wire weighing 9.38 kg per 100 metres (minimum), between the two posts fitted and fixed with G.I. staples on wooden plugs or G.I. binding wire tied to 6 mm bar nibs fixed while casting the post (cost of R.C.C. posts, struts, earth work and concrete to be paid for separately) :- Payment to be made per metre cost of total length of barbed wire used. | [53 empty] | 52 | Fencing with R.C.C. post placed at required distance, embedded in cement concrete blocks, every 15th post, last but one end post and corner post shall be strutted on both sides and end post one side only, provided with horizontal lines and two diagonals of barbed wire weighing 9.38 kg per 100 metres (minimum), between the two posts fitted and fixed with G.I. staples on wooden plugs or G.I. binding wire tied to 6 mm bar nibs fixed while casting the post (cost of R.C.C. posts, struts, earth work and concrete to be paid for separately) :- Payment to be made per metre cost of total length of barbed wire used. |  |  | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
52.01 | With G.I. barbed wire (16.17.1) |  | 1950 | Mtr | 8.25 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 16087.5 | 16087.5 | INR Sixteen Thousand &Eighty Seven and Paise Fifty Only | 52.01 | With G.I. barbed wire (16.17.1) | 1950 | Mtr | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
53 | Finishing walls with acrylic Smooth exterior paint of required shade,New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @2.20kg/ 10 sqm) (13.46.1) |  | 41 | Sqm | 96.05 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 3938.05 | 3938.05 | INR Three Thousand Nine Hundred & Thirty Eight and Paise Five Only | 53 | Finishing walls with acrylic Smooth exterior paint of required shade,New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @2.20kg/ 10 sqm) (13.46.1) | 41 | Sqm | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
54 | Carriage of Malba (Approved Rate) |  | 8 | Trip | 339 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 2712 | 2712 | INR Two Thousand Seven Hundred & Twelve Only | 54 | Carriage of Malba (Approved Rate) | 8 | Trip | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 722673.57 | 169592.15 | INR One Lakh Sixty Nine Thousand Five Hundred & Ninety Two and Paise Fifteen Only |  |  |  | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | INR Zero Only
Quoted Rate in Words |  | INR Zero Only
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K23: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K24: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K26: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K31: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K33: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K34: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K35: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K37: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K39: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K41: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K44: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K25: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K27: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K28: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K29: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K30: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K32: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K36: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K38: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K40: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K42: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K43: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K45: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K46: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K47: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K48: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K49: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K50: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K51: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K52: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K53: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K54: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K55: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K56: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K57: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K58: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K59: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K60: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K61: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K62: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K63: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K64: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K65: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K66: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K67: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K68: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K69: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K70: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K71: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K72: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K73: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K74: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K75: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K76: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K77: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K78: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K79: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K80: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K81: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K82: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K83: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K84: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K85: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K86: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K87: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K88: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K89: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K90: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K91: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K92: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K93: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K94: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K95: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K96: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K97: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K98: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K99: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K100: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K101: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K102: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K103: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K104: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K105: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K106: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K107: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K108: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K109: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K110: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K111: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K112: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K113: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K114: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K115: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K116: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K117: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K118: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.

## Macros
Please Enable Macros to View BoQ information